## Luminaire list
Ref | Qty | Cat Number | Company | Description
1 | 222 | EBP66L35N | Luceco PLC | Luceco - Luxpanel Backlit Eco
2 | 2 | LBC22S40-02 | Luceco | Celeste Decorative Bulkhead 18.5W Standard
3 | 5 | NSC3/REC/STNM3/OVAL | NVC LIGHTING LTD | SENECA RECESSED SELF TEST NM3 OVAL LENS
4 | 31 | NSC/REC/STNM3/WIDE | NVC LIGHTING LTD | SENECA RECESSED SELF TEST NM3 WIDE LENS
5 | 8 | NLE/SLIM/STM3 + NLE/SLIM/LE/UP | NVC Lighting | LEXINGTON SLIM PRO SELF TEST ISO UP
6 | 1 | NLE/SLIM/STM3 + NLE/SLIM/LE/LEFT | NVC Lighting | LEXINGTON SLIM PRO SELF TEST ISO LEFT
7 | 1 | NLE/SLIM/STM3 + NLE/SLIM/LE/RIGHT | NVC Lighting | LEXINGTON SLIM PRO SELF TEST ISO RIGHT
8 | 14 | QUAOC08D | Kingfisher Lighting Ltd | 15w LED Quarto bulkhead with cycle path optic 2700K
9 | 5 | DL48938MW30-A | Collingwood | DL48938MW30 IP65 Recessed Downlight
10 | 7 | NNE/2/LED/STM3/LITH/V3 | NVC Lighting | NEBRASKA PRO
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44

## Exterior 1 (100)
state | no. | x [m] | y [m] | z [m] | z [°] | c0 [°] | C90 [°] | tx [m] | ty [m] | tz [m] | company | name | main_number | sub_number | tot. load [W] | lamp(s)
XE | 1 | 25.379 | 33.233 | 3 | 180 | 0 | 0 | 23.997 | 33.233 | 0 | INTEGRAL LED | Emergency Bulkhead 5W 4000K 250LM | ILEMBH026 |  | 5 | 1xLED 5 W
XE | 2 | 25.377 | 33.233 | 6 | 180 | 0 | 0 | 23.998 | 33.233 | 3.008 | INTEGRAL LED | Emergency Bulkhead 5W 4000K 250LM | ILEMBH026 |  | 5 | 1xLED 5 W
XE | 3 | 21.401 | 30.554 | 6.921 | 0 | 51.131 | 0 | 21.401 | 33.56 | 4.498 | NVC Lighting | KANSAS PRO | NKS/IP65/NM3 |  | 3.3 | 1xLED 3.3 W
XE | 4 | 21.551 | 30.561 | 6.907 | 40.222 | 38.418 | -57.031 | 23.028 | 33.359 | 5.416 | NVC Lighting | KANSAS PRO | NKS/IP65/NM3 |  | 3.3 | 1xLED 3.3 W
XE | 5 | 21.399 | 30.549 | 3.409 | 0 | 51.131 | 0 | 21.399 | 32.914 | 1.503 | NVC Lighting | KANSAS PRO | NKS/IP65/NM3 |  | 3.3 | 1xLED 3.3 W
XE | 6 | 21.549 | 30.556 | 3.396 | 60.524 | 0 | -75.45 | 23.353 | 33.748 | 2.444 | NVC Lighting | KANSAS PRO | NKS/IP65/NM3 |  | 3.3 | 1xLED 3.3 W
XE | 7 | 25.37 | 33.232 | 9.7 | 180 | 0 | 0 | 23.762 | 33.232 | 6.218 | INTEGRAL LED | Emergency Bulkhead 5W 4000K 250LM | ILEMBH026 |  | 5 | 1xLED 5 W
XE | 8 | 21.387 | 30.551 | 10.623 | 84.986 | 0 | -45.619 | 21.666 | 33.721 | 7.509 | NVC Lighting | KANSAS PRO | NKS/IP65/NM3 |  | 3.3 | 1xLED 3.3 W
XE | 9 | 21.537 | 30.558 | 10.61 | 63.657 | 0 | -56.2 | 23.101 | 33.715 | 8.251 | NVC Lighting | KANSAS PRO | NKS/IP65/NM3 |  | 3.3 | 1xLED 3.3 W
XE | 10 | 25.186 | 30.571 | 12.512 | 115.092 | 0 | -43.213 | 23.636 | 33.88 | 8.623 | NVC Lighting | KANSAS PRO | NKS/IP65/NM3 |  | 3.3 | 1xLED 3.3 W
XE | 11 | 25.432 | 30.571 | 12.499 | 91.339 | 0 | -49.367 | 25.357 | 33.802 | 9.725 | NVC Lighting | KANSAS PRO | NKS/IP65/NM3 |  | 3.3 | 1xLED 3.3 W

## First Floor Corridor (101)
state | no. | x [m] | y [m] | z [m] | z [°] | c0 [°] | C90 [°] | tx [m] | ty [m] | tz [m] | company | name | main_number | sub_number | tot. load [W] | lamp(s)
| 1 | 0.424 | 3.885 | 2.4 | 0 | 0 | 0 | 0.424 | 3.885 | 0 | Luceco | Carbon Downlight 15.5W Standard | LBDL6S40 |  | 15.5 | 1xLED 15.5 W
| 2 | 0.066 | 6.229 | 2.4 | 0 | 0 | 0 | 0.066 | 6.229 | 0 | Luceco | Carbon Downlight 15.5W Standard | LBDL6S40 |  | 15.5 | 1xLED 15.5 W
| 3 | 0.416 | 1.516 | 2.4 | 0 | 0 | 0 | 0.416 | 1.516 | 0 | Luceco | Carbon Downlight 15.5W Standard | LBDL6S40 |  | 15.5 | 1xLED 15.5 W
XE | 6 | 0.526 | 4.481 | 2.4 | 90 | 0 | 0 | 0.526 | 4.481 | 0 | Luceco | Tempus 1W Corridor Lens Downlight | LEMDWC |  | 1 | 1xLED 1 W
XE | 7 | -0.675 | 6.713 | 2.1 | 90 | 0 | 0 | -0.675 | 6.713 | 0 | Luceco | Emergency sign up | LEMBKM3 |  | 6 | 1xLED 6 W
| 8 | 35.387 | 3.976 | 2.4 | 0 | 0 | 0 | 35.393 | 3.991 | 0 | Luceco | Carbon Downlight 15.5W Standard | LBDL6S40 |  | 15.5 | 1xLED 15.5 W
| 9 | 35.029 | 6.32 | 2.4 | 0 | 0 | 0 | 34.993 | 6.291 | 0 | Luceco | Carbon Downlight 15.5W Standard | LBDL6S40 |  | 15.5 | 1xLED 15.5 W
| 10 | 35.379 | 1.607 | 2.4 | 0 | 0 | 0 | 35.393 | 1.591 | 0 | Luceco | Carbon Downlight 15.5W Standard | LBDL6S40 |  | 15.5 | 1xLED 15.5 W
XE | 11 | 35.489 | 4.572 | 2.4 | 90 | 0 | 0 | 35.493 | 4.591 | 0 | Luceco | Tempus 1W Corridor Lens Downlight | LEMDWC |  | 1 | 1xLED 1 W
XE | 12 | 34.289 | 6.804 | 2.1 | 90 | 0 | 0 | 34.293 | 6.791 | 0 | Luceco | Emergency sign up | LEMBKM3 |  | 6 | 1xLED 6 W
| 13 | 70.205 | 3.565 | 2.412 | 0 | 0 | 0 | 70.193 | 3.591 | 0 | Luceco | Carbon Downlight 15.5W Standard | LBDL6S40 |  | 15.5 | 1xLED 15.5 W
| 14 | 69.847 | 5.909 | 2.412 | 0 | 0 | 0 | 69.893 | 5.891 | 0 | Luceco | Carbon Downlight 15.5W Standard | LBDL6S40 |  | 15.5 | 1xLED 15.5 W
| 15 | 70.197 | 1.196 | 2.412 | 0 | 0 | 0 | 70.193 | 1.191 | 0 | Luceco | Carbon Downlight 15.5W Standard | LBDL6S40 |  | 15.5 | 1xLED 15.5 W
XE | 16 | 70.307 | 4.161 | 2.412 | 90 | 0 | 0 | 70.293 | 4.191 | 0 | Luceco | Tempus 1W Corridor Lens Downlight | LEMDWC |  | 1 | 1xLED 1 W
XE | 17 | 69.106 | 6.393 | 2.112 | 90 | 0 | 0 | 69.093 | 6.391 | 0 | Luceco | Emergency sign up | LEMBKM3 |  | 6 | 1xLED 6 W