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Internal Memorandum

	

	To:  
	David Brett
	Your Ref:
	230283

	From:
	Rebecca Moon - Environmental Health Officer
	My Ref:
	EP /752513

	Date consultation received: 29/03/2023
	Date: 21 April 2023

	


Application Number: 230283  
Premises Address:  40-48 Mount Pleasant Reading Berkshire   RG1 2TD
Application For: Application to discharge conditions 7 (CMS), 16 (Noise Assessment), 20 (Archaeological Work), and 21 (SAP Report) approved application ref 201880

Environmental Protection concerns

· Condition 7 – CMS

The noise and dust control elements of this condition can be discharged, as the proposed measures in the CMS are acceptable – although the proposed working hours should be amended as they are not in accordance with the separate planning condition.  However, the project involves demolition of redundant buildings but no pest control measures are proposed in the CMS (e.g. capping of redundant services).  Therefore this part should not be discharged.
Jhahanger Zaman – Proposed working hours amended and revised CMS attached to include the pest control measures. 
· Condition 16 – noise assessment

The assessment does not meet the requirements of the condition as no provision has been made for alternative ventilation in accordance with the condition, as the levels will be more than 5 dB above recommended levels with windows open.  It is acknowledged that the ventilation may not be possible in the listed building but it should be included for the new build.
Jhahanger Zaman – Yes the ventilation will be included in the new build as per the recommendation in section 4 of the report
For the listed building, the levels will not meet recommended levels without additional secondary glazing which is presented as an option in the assessment.  This should be confirmed prior to discharge of the condition.
Jhahanger Zaman – Please see the conclusion below in the report which states the listed building levels are seen to be acceptable. Please note this building is not included in the condition and was an additional building added to the report for future use. 

[image: image1.png]Given that the existing building at 50 Mount Pleasant is listed, the measured internal noise
levels are seen to be acceptable. This is in line with the approved 5 dBA relaxation to the
internal noise criteria as defined by BS 8233. Should the local planning authority wish to further
reduce internal noise levels, and secondary glazing system (single or double pane) will bring

internal noise levels down to significantly below the BS 8233 criteria.




If you have any queries please contact me.

Kind regards,

Rebecca Moon -

Principal Environmental Health Officer
