RBC application 190858 (Station Building)
[bookmark: _Hlk126934667]Condition 11: “Details of site security cameras and other security and anti- terrorism measures shall be submitted to and be approved in writing by the Local Planning Authority, following consultation with the British Transport Police, before the station building is open to use by the public. The security cameras and measures shall be provided and implemented in accordance with the approved details prior to first use of the station and shall be monitored and maintained as such thereafter”.


Station security cameras
The station design includes full coverage by CCTV (VSS) cameras, as detailed in the SISS Design Report; doc ref 158989-ARP-RG-ST-RP-Y-000012.
Extracts from sections 4.1 & 4.2 and the associated drawings are included with this Note.


British Transport Police consultation
British Transport Police have been involved with the project team throughout the design and construction stages and have been involved in reviewing and determining any security or anti-terrorist requirements.  A letter of support from them is included with this Note.
During the design stage it was determined that no specific anti-terrorist measures are required.

Note that the Transport Interchange area is covered by a separate CCTV design.  This design has been provided by Stantec (formally PBA) on behalf of Reading Borough Council.
