### Delegated Application Report			Target Date: 6/1/22  Ext 4/2/2022

Address: Green Park Station

Application No: 211985/NMA

Proposal: Minor amendment to condition 2 of planning permission 190858 to increase the canopy height

Case Officer: Alison Amoah

Proposal:

Full planning permission was granted in September 2019 for:

‘Construction of a building comprising ticket hall, public conveniences, staff facilities and ancillary retail provision to serve the proposed Green Park Railway station development including associated signage (LPA Ref. 190858)’

This application is seeking to amend the full planning permission to account for a 145mm increase in the parapet of the proposed station building from 5000mm to 5145mm, and an increase in the height of the sloped roof from 4180mm to 4600mm above finished floor level (FFL). The increase in height will be minimal when compared to the overall height of the station building and will not be easily perceptible from the ground. The increase in the roof height is made following the detailed design stage in which the required insultation material for the building was slightly larger than originally designed.

The increase in roof height, if agreed, would need the approved drawing:

02 Rev E - Model Base + Roof Plan

To be superseded by the new drawings:

158989-ARP-RG-BD-DR-A-00003 Roof Plan and

158989-ARP-RG-BD-DR-A-00002 Elevations.

The applicant submitted the following drawings/documents as part of the application:

• Application Forms;

• 36382/2002/SK69 – Site Location Plan;

• 158989-ARP-RG-BD-DR-A-00002 Elevations; and,

• 158989-ARP-RG-BD-DR-A-00003 Roof Plan.

Objections Received (Summary):

Applications under S96A are not applications for planning permission, so are not covered by the publicity requirements as set out in the DMPO.

Planning History

200095/NMA To amend the internal layout plan originally approved under condition 2 of planning permission 190858, to show an internal access door to the accessible toilet, as opposed to an external door (from the platform) and to delete condition 3, which required the submission and approval of a plan to show both internal and external access doors to the accessible toilet within the station building. Agreed May 2020.

190858/REG3 - Construction of a building comprising ticket hall, public conveniences, staff facilities and ancillary retail provision to serve the proposed Green Park railway station development, including associated signage) – Approved 12/9/2019

Appraisal:

The proposed changes are considered to be very minor in nature and would have no detrimental effect with respect to the appearance of the new building or impact on users of the station building and train users.

Conclusion:

The changes as proposed are considered to be acceptable non-material alterations to the approved scheme.

Recommendation:

Approve non-material amendment as described above.

Condition 2

The plan hereby approved by this Non-Material Amendment (under Section 96A of the Town and Country Planning Act 1990) are as follows:

• 158989-ARP-RG-BD-DR-A-00002 Elevations; and,

• 158989-ARP-RG-BD-DR-A-00003 Roof Plan.

Received on 9 December 2021

Reason: to clarify which plans are approved by this Non-Material Amendment.

INFORMATIVES

1. This notice relates only to the changes to condition 2 of the substantive planning permission (Ref:190858).  It shall be read in the context of the substantive planning permission and is bound by all the conditions and obligations attached to that permission. That permission still stands and this notice (and any other notices issued under section 96a for this development) should be read together.

2. In reaching this decision, the local planning authority is satisfied that the changes proposed by this application do not constitute material changes to the approved planning permission.