# Proposed external materials at 20 Belle Vue Road

External Brick

Reclaimed imperial red stock brick.

Windows

Anthracite (Ral 7016) Aluminium bi-fold doors and windows

Windows - https://www.smartsystems.co.uk/product/111/alitherm-300

Bi-fold Doors - https://www.smartsystems.co.uk/product/195/visofold-1000

Parapet Coping

Once Weathered Coping Stone – Grey/Slate

Slate - https://www.roofingsuperstore.co.uk/product/eurodec-50-75mm-once-weathered-coping-stone-600mm-x-350mm-slate.html