Schedule of External Wall Materials

This schedule should be read in conjunction with the General Arrangement Floor Plans, Elevations and Window & Door schedule along with the Construction Specification

Samples availabe on site.

| Item | Proposed Specification | Comments | Image SAMPLE |
| --- | --- | --- | --- |
| External Wall – Main Construction Build-Up |  |  |  |
| Brickwork (main) | Forterra – Wentworth Mixture Brick Standard Grey Mortor |  |  |
| Brickwork (Textured area) | Forterra – Wentworth Mixture Brick 20mm indend and protrusion Standard Grey Mortor |  |  |
| Brickwork (core entrances) | Synthesis S17 From MBH PLC Standard Grey Mortor |  |  |
| Timber Boarding (to community building) | Kebony Cladding |  |  |
| Balcony feature fins | Keybony Timber Fins Balcony rails (cira. RAL7016) |  |  |
| Entrance doors | Profile 22 or IG Dark Grey or Black (cira. RAL7016) Composite GRP doors or similar SBD/Part Q Ironmongary Cira. RAL 7016 |  |  |
| Windows & Patio doors | Dark Grey or Black (cira. RAL7016) uPVC Profile 22 or Rehau SBD/Part Q Ironmongary |  |  |
| Parapet and balcony flashing & Roof covering | Axter Edge Flashing or Similar Dark Grey (cira. RAL7016) Axter SinglePly Membrane or Similar (Grey) (roof covering dependant on suppliers designs) |  |  |
| rainwater goods | Axter Black Hopper & uPVC downpipes |  |  |

| Revision | Status | Date | Notes | by | chk |
| --- | --- | --- | --- | --- | --- |
| P01 | Preliminary issue | 02/09/2020 | For review | AK | BW |
| P02 | Materials Updated | 10/09/2020 | For Planning Condition | AK | BW |