Caversham Weir Reading

Hydroelectric Project

Construction Materials

Document Control

| Version | Date of Issue | Author(s) | Reviewed by |
| --- | --- | --- | --- |
| 01 |  | Matt Lomax | Rich Spurr |
| 0.2 | August 2020 | Simon Lewis | Tony Cowling |
| 0.3 | September 2020 | Simon Lewis | Tony Cowling |
| 0.4 | November 2020 | Simon Lewis | Tony Cowling |

Contents

1	Introduction	2

2	Materials	2

Reinforced concrete	2

Intake screens	2

Archimedes Screw turbine	3

Generator Hut	3

Fencing	5

Eel tiles and fish brushes	5

Bat Boxes	6

3	Example of twin Archimedes Screw project in Pershore, Gloucestershire	7

# Introduction

This document outlines the proposed materials to be used in the construction of the Caversham Weir Hydro project.

# Materials

## Reinforced concrete

The main structure is made of reinforced concrete – similar to shown below:

## Intake screens

Stainless steel intake bars – similar to shown below.

## Archimedes Screw turbine

Archimedes Screw turbines are powder coated metal usually in black or dark green.

## Generator Hut

The building structure will be fair faced concrete blocks, painted white.

The roof will be box profile roofing sheets in green (RAL 6005 or similar):

Door – double personnel access door powder coated.

## Fencing

Palisade fencing.1.8m tall in Green RAL6005 or similar. Security fans at open ends.

Key Clamp style railing (with infill panels on public footpath), galvanized steel.

## Eel tiles and fish brushes

The eel tiles and fish pass brushes will look similar to the below:

## Bat Boxes

2 bat boxes will be built into the gable end of the generator hut as shown by the arrows on the plan below. The design for these has been provided separately.

5 wooden bat boxes have already been fitted to nearby trees on View Island as shown on the plan below. These were built to RSBP specification (example below).

Location of bat boxes

# Example of twin Archimedes Screw project in Pershore, Gloucestershire