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Fairfax

Devonshires,

30 Finsbury Circus,
London,

EC2M 7DT
BY EMAIL: Simran.Notta@devonshires.co.uk
Without prejudice
	             Frances Martin

             Executive Director for Economic Growth 

             and Neighbourhood Services

Civic Offices, Bridge Street,

Reading, RG1 2LU

 0118 9373787

Our Ref:  190261 and 190262 
Direct:  0118 9372023     
e-mail: susanna.bedford@reading.gov.uk
8th July 2020 


	Your contact is:
	Susanna Bedford, Planning 


Dear Sirs,

TOWN AND COUNTRY PLANNING ACT 1990

Application Reference: 190261 and 190262
Application type: Approval of Conditions

Address: Site formally known as 42 Kenavon Drive, Reading
Proposal: Confirmation that all conditions under approved planning permission 131280 have been discharged.

I refer to your applications as described above. Sincere apologies for the delay in this response as further investigations have been carried out on the site.

I can confirm permission 08/00716/REM was not implemented (your query under our ref 190262). 
I have compiled the following table showing the conditions that have been met in relation to Permission 131280 which has been implemented on the site (your query under ref 190262). 
Permission 131280 
	Discharge of Condition  Reference  


	Condition No 
	Details required to be submitted to discharge condition
	Condition Discharged

	
	1. Time limit 
	No 
	Building work was commenced in time. 


	
	2. Approved Plans 
	No 
	Works carried out in accordance with approved plans



	14 0754
	3. Materials 
	Yes 
	Condition considered to be discharged

	150071
	4. Removal of existing fence 
	No 
	Condition not considered to be discharged. 

	
	5. No plant for cleaning erected without approval 
	No
	Remains applicable 

	14 0549 
	6. Archaeological  WSI 
	Yes 
	Condition considered to be discharged

	
	7. No burning of waste on site
	No 
	Applicable only during construction phase  

	
	8. Hours of work 
	No 
	Applicable only during construction phase  


	14 0666
	9.Noise mitigation 
	Yes 
	Condition considered to be discharged

	140620 
	10. Assessment  of contamination 

11. Remediation scheme 
	Yes 
	Condition considered to be discharged

	14 0688


	12. Validation report to confirm remediation 
	Contamination assessment has been undertaken see  Technical Note produced by Wilson Bailey Geotechnical and Environmental dated 22nd April 2014 ref J14102/DB/c05
	Cannot be confirmed that the final report was provided but given all else was passed we are satisfied that the relevant requirements were met. 

	
	13. In the event of contamination 
	- 
	

	14 0824
	14. Details of access and construction 
	Yes 
	Condition considered to be discharged

	
	15.Siting of garage 
	No 
	Condition considered to be discharged


	
	16. Provision of car parking spaces 
	No 
	Condition considered to be discharged

	151102
	17. Cycle storage 
	Yes 
	Condition considered to be discharged


	150072
	18. Car park Management Plan  
	Yes 
	Condition considered to be discharged

	150072
151080
	19. Council to be notified of full postal addresses 
	Yes 
	Condition considered to be discharged

	150072
	20. Location of bus stops
	Yes 
	Condition considered to be discharged

	14 0806
	21. CMS 
	Yes 
	 Applicable only during construction phase  


	150072
	22. Management of service vehicle  deliveries 
	Yes 
	Condition considered to be discharged


	14 0803
	23. Street Lighting
	Yes 

	Condition considered to be discharged

	140712
	24.Interim Code Certificate of the  Code for Sustainable Homes 


	Yes

	Condition considered to be discharged


	 
	25. Final certificate  Code for 
Sustainable Homes 
	Yes 
	Cannot be confirmed that the final certificate was provided however base on the Interim Certificate provided and that the Code for Sustainable Homes legislation has now been superseded can be satisfied that requirements were met.


	
	26. Decentralized Energy network to be installed  
	No 
	Condition considered to be discharged

	14 0715 
	27. Details of external boundary 
	Yes 
	Condition considered to be discharged

	14 0667 
	28. Biodiversity enhancements 
	Yes 
	Condition considered to be discharged

	
	29.PD removed for solar panels  
	No 
	Remains applicable 

	14 0689


	30. Boundary treatment within the development 
	Yes 
	Condition considered to be discharged

	
	31. No infiltration of surface water run-off into roads and car parking areas, unless approved  


	No 
	Remains applicable 

	14 0665
	32. Details of Piling 


	Yes 
	Condition considered to be discharged

	14 0804 

170032 
	33.Details of Hard and Soft landscaping 


	Yes 
	Condition considered to be discharged

	
	34. Landscape to be carried out as approved

	No 
	Condition not considered to be fully discharged 

	140762
	35. Details of Tree pits 


	Yes 
	Condition details considered to be discharged

	140762
	36. Landscape Management  Plan 


	Yes 
	Condition details considered to be discharged

	140762
	37.  Landscape Maintenance for a period for 5 years 
	Yes 
	Condition not considered to be fully discharged 

	14 1008 
	38. Daylight standards 
	Yes 
	Condition considered to be discharged

	140745 
	39. Run off

 
	Yes  
	Condition considered to be discharged 

	
	40. Dry access provisions as approved
	No 
	Condition considered to be discharged

	151104
	41 Details of telecommunications network 
	Yes 
	Condition considered to be discharged


The conclusion reached in respect of your enquiry is that all conditions in relation to individual dwellings are either no longer relevant or have been met. Discrepancies in relation to the landscaping of public areas and open space are matters for the Management Company.  
Should you wish to discuss this matter further, please contact me by email or the direct line as above.
Yours sincerely 

Susanna Bedford (via email only)

Susanna Bedford - Principal Planning Officer

Condition Discharge ref 131280 

