### Delegated Application Report

App Ref: 180560/NMA

Address: The Wren School, 61 - 63 Bath Road, Reading, RG30 2BB

Proposals: Non material amendment to the roof plant and details for two no. totem signs

Case Officer: Mr Ralph Chakadya

Applicant: Kier Construction

Date received (valid from): 4 April 2018

Target Decision date: 20 June 2018 –

1.	PROPOSAL AND SUPPORTING INFORMATION

Non material amendment to the roof plant and details for two no. totem signs.  The plans to be amended are as approved by the Reserved Matters application 161877.

The applicant explains:

The roof plant amendments are needed as a result of mechanical and engineering requirements. The air handling units and other roof mounted units have not materially changed in size and the extent of ductwork and flues was unknown at the planning stage hence the requirement for this amendment.

The design team has sought to reduce the impact as far as possible in terms of positioning, size and bulk and we believe the changes to be non-material in nature.

This Section 96A application has been submitted concurrently with an application to discharge Condition 42 of the Outline Planning permission reference 151175 (which required the submission of noise assessment of the proposed roof plant). The Plant Noise Impact Assessment (28 February 2018) that accompanies the application to discharge Condition 42 has been submitted alongside this letter.

In addition to the proposed amendments to the roof plant as approved, this application seeks to provide details of two no. totem signs shown at the access to Bath Road and at the south side of the car park on the south side of the site.

This is an opportunity to also amend incorrectly labelled landscaping plans.

Plans considered;

Proposed Site Plan 003A

Proposed Elevations 112 B and 113 B

Proposed Floor and Roof Plans 109 B

External Signage Plan 003 showing Totem Sign locations and dimensions

WREN School, Reading Plant Noise Impact Assessment

- RELEVANT PLANNING HISTORY

Relevant Planning History:

- 151175 – the original hybrid application to redevelop the former Elvian site for residential and a new school.  Permitted 4/4/16

- 161877 REM for the school. Permitted 20/12/16

- Numerous applications to discharge conditions and Reserved Matters.

3.	Appraisal:

The proposed change to the roof plant on the school are not considered detrimental to the appearance of the new building.

The proposed locations of the totem signs for the school have been shown to not harm the future retention of trees on the site and are considered acceptable in terms of position, size and appearance.

The changes are therefore considered to be acceptable as Non-Material Changes to the plans as approved by the Reserved Matters permission 161877 and therefore condition 1 (Approved details) can be amended to include these new drawings.

- Conclusion:

The alterations as proposed are considered to be acceptable non-material alterations to the approved scheme.

Recommendation:

Approve non-material changes subject to amended condition.

Amended Condition 1

Approved Details

To now include

WREN ECE 00 ZZ DR A 71 003 C External Signage

6212 (PL) 109B Third Floor & Roof Plan

6212 (PL) 112D Proposed Elevations (Sheet 1 of 2)

6212 (PL) 113D Proposed Elevations (Sheet 2 of 2)

D2342 L300revP4  Soft General Arrangement Plan (Sheet 1 of 3)

D2342 L301revP3  Soft General Arrangement Plan (Sheet 2 of 3)

D2342 L302revP3  Soft General Arrangement Plan (Sheet 3 of 3)

INFORMATIVES

- This permission relates only to the changes highlighted on the plans and is bound by all the conditions and obligations attached to the hybrid permission 151775 and the Reserved Mattters permission 161877. These permissions still stand and this notice (and any other notices issued under section 96a for this development) should be read together.

- In reaching this decision, the local planning authority is satisfied that the changes proposed by this application do not constitute material changes to the approved planning permission.

- The Local Planning Authority has worked positively and proactively with the applicant to determine under the non-material amendment procedure within the recommended timeframes.