### Delegated Application Report			Target Date: 12/12/2018 (extended)

Address: Green Park Village

Application No: 181723/NMC

Proposal: Non Material Amendment for changes to the approved plans under Condition 2 of the Planning Permission Ref. 160569

Case Officer: Alison Amoah

Proposal: Non material changes relating to –

Changes to plans, originally approved under permission 160569, for “Development of commercial office buildings (B1 Use Class), access, decked and surface car parking, cycle parking, landscaping, servicing, associated engineering and ancillary works”, include the following:

The changes include those approved under 180639, as follows:

- Making the floorplates column free resulting in an overall increase in height (not storeys) of 2.175m

- Varying the siting/footprint providing four ‘fingers’ of office accommodation on two symmetrical floor plates around a central axis.

- Increasing the GEA by 645sqm (ca 2% increase) – this would mainly relate to non-useable office space, and therefore would not have a detrimental effect on parking provision.

Those approved under 181608, as follows:

- Dedicated cycle access and storage added to both car parking structures.

- Increase in cycle spaces from 136 to 234.

- Generator, cycle storage and bin storage pavilions have been relocated within the new dedicated spaces within the car parking structures.

- Revised architectural details for the car parking structures to unify with the main buildings.

- Five storey canopies have been removed and to be replaced with one and half storey entrance portico on the west elevation.

- Elevation above the entrance vestibule to be articulated with metal and terracotta louvres.

- Revolving doors to be replaced with sliding doors.

- Additional roof plant.

- Increase in plant enclosure with additional plant of 1,213 cubic metres per building, but no additional height.

Those additional/amended as proposed under this application are:

- Footprint and massing of the southern car park structure has been amended to match the northern car parking structure, reducing its overall footprint.

- Cycle stores, changing and shower facilities, bin stores and related plantroom spaces have been combined into a consolidated block in each car parking structure.

- The configuration of the car parking at grade has been adjusted to reflect to the amendments to the car parking structures, with the overall number of car parking spaces maintained.

- An additional 214sqm NIA across the north and south buildings as a result of the shower facilities moving to the car parking structures.

- The entrance to the north car park and the substation has been relocated to accommodate the new service block.

- Ramps and circulation with the car parking structures has been altered to maximise the number of car parking spaces, but maintaining the number of car park levels.

- The overall datum of the north car park has increased by 370mm, as the case has been raised to respond to flood level risk requirements.

The following is a table of the approved and proposed amended plans.

| Approved plan under permission 160569 | Approved amended plan under 180639 (NMA1) | Approved amended plan under 181608 (NMA2) | Proposed amended plan (NMA3) |
| --- | --- | --- | --- |
| Site plan Proposed Layout – Drawing no:A_PL_003 Rev 01 | Site plan Proposed Layout – Drawing no:A_PL_003 Rev 04 | Site plan Proposed Layout – Drawing no:A_PL_003 Rev 05 | Alternative Scheme Site Plan - Drawing no:A_PL_020 |
| General Arrangements Plan Level- GF – Drawing no: A_PL_100 Rev 01 | General Arrangements Plan Level- GF – Drawing no: A_PL_100 Rev 02 | General Arrangements Plan Level- GF – Drawing no: A_PL_100 Rev 03 | Alternative Scheme General Arrangement Plan Level 00 Drawing no: A_PL_110 |
| General Arrangements Plan Level- 01 – Drawing no: A_PL_101 Rev 01 | General Arrangements Plan Level- 01 – Drawing no: A_PL_101 Rev 02 | General Arrangements Plan Level- 01 – Drawing no: A_PL_101 Rev 03 | Alternative Scheme General Arrangement Plan Level 01 Drawing no: A_PL_111 |
| General Arrangements Plan Level - 02 – Drawing no: A_PL_102 Rev 01 | General Arrangements Plan Level - 02 – Drawing no: A_PL_102 Rev 02 | General Arrangements Plan Level - 02 – Drawing no: A_PL_102 Rev 03 | Alternative Scheme General Arrangement Plan Level 02 Drawing no: A_PL_112 |
| General Arrangements Plan Level - 03 – Drawing no: A_PL_103 Rev 01 | General Arrangements Plan Level - 03 – Drawing no: A_PL_103 Rev 02 | General Arrangements Plan Level - 03 – Drawing no: A_PL_103 Rev 03 | Alternative Scheme General Arrangement Plan Level 03 Drawing no: A_PL_113 |
| General Arrangements Plan Level - 04 – Drawing no: A_PL_104 Rev 01 | General Arrangements Plan Level - 04 – Drawing no: A_PL_104 Rev 02 | General Arrangements Plan Level - 04 – Drawing no: A_PL_104 Rev 03 | Alternative Scheme General Arrangement Plan Level 04 Drawing no: A_PL_114 |
| General Arrangements Plan Level - Roof – Drawing no: A_PL_105 Rev 01 | General Arrangements Plan Level - Roof – Drawing no: A_PL_105 Rev 02 | General Arrangements Plan Level - Roof – Drawing no: A_PL_105 Rev 03 | Alternative Scheme General Arrangement Plan Level 05 Drawing no: A_PL_115 |
| General Arrangements Sections East/West and North/South Buildings 1 and 2 – Drawing no: A_PL_200 Rev 01 | General Arrangements Sections East/West and North/South North and South Buildings – Drawing no: A_PL_200 Rev 02 | General Arrangements Sections East/West and North/South North and South Buildings – Drawing no: A_PL_200 Rev 03 | Alternative Scheme Site Context Sections East/West & North/South Drawing no: A_PL_210 |
| General Arrangements Sections East/West Buildings 1 and 2 – Drawing no: A_PL_201 Rev 01 | General Arrangements Sections East/West North and South Buildings – Drawing no: A_PL_201 Rev 02 | General Arrangements Sections East/West North and South Buildings – Drawing no: A_PL_201 Rev 03 | General Arrangements Sections East/West North and South Buildings – Drawing no: A_PL_201 Rev 03 (same as 181608 NMA2) |
| General Arrangements Sections East/West Buildings 1 and 2 – Drawing no: A_PL_202 Rev 01 | General Arrangements Sections East/West North and South Buildings – Drawing no: A_PL_202 Rev 02 | General Arrangements Sections East/West North and South Buildings – Drawing no: A_PL_202 Rev 03 | General Arrangements Sections East/West North and South Buildings – Drawing no: A_PL_202 Rev 03 (same as 181608 NMA2) |
| External Envelope Typical North Façade – Drawing no: A_PL_210 Rev 01 | External Envelope Typical North Façade – Drawing no: A_PL_210 Rev 02 | General Arrangements Elevations North and East – Drawing no: A_PL_300 Rev 03 General Arrangements Elevations South and West – Drawing no: A_PL_301 Rev 03 General Arrangements Elevations South North and South Buildings - Drawing no: A_PL_302 Rev 03 | General Arrangements Elevations North and East – Drawing no: A_PL_300 Rev 03 General Arrangements Elevations South and West – Drawing no: A_PL_301 Rev 03 General Arrangements Elevations South North and South Buildings - Drawing no: A_PL_302 Rev 03 (all same as 181608 NMA2) |
| External Envelope Typical South Façade – Drawing no: A_PL_211 Rev 01 | External Envelope Typical South Façade – Drawing no: A_PL_211 Rev 02 | General Arrangements Elevations North and East – Drawing no: A_PL_300 Rev 03 General Arrangements Elevations South and West – Drawing no: A_PL_301 Rev 03 General Arrangements Elevations South North and South Buildings - Drawing no: A_PL_302 Rev 03 | As above |
| General Arrangements Elevations North and East – Drawing no: A_PL_300 Rev 01 | General Arrangements Elevations North and South Buildings – Drawing no: A_PL_300 Rev 02 | General Arrangements Elevations North and East – Drawing no: A_PL_300 Rev 03 | General Arrangements Elevations North and East – Drawing no: A_PL_300 Rev 03 (same as 181608 NMA2) |
| General Arrangements Elevations South and West – Drawing no: A_PL_301 Rev 01 | General Arrangements Elevations East and West North and South Buildings – Drawing no: A_PL_301 Rev 02 | General Arrangements Elevations South and West – Drawing no: A_PL_301 Rev 03 | General Arrangements Elevations South and West – Drawing no: A_PL_301 Rev 03 (same as 181608 NMA2) |
| - | General Arrangements Elevations South North and South Buildings - Drawing no: A_PL_302 Rev 02 [new] | General Arrangements Elevations South North and South Buildings - Drawing no: A_PL_302 Rev 03 | General Arrangements Elevations South North and South Buildings - Drawing no: A_PL_302 Rev 03 (same as 181608 NMA2) |
| General Arrangements Car Parking North Building – Drawing no: A_PL_400 Rev 01 | No change | General Arrangement Car North & South Car Parks Level 00 - Drawing no: A_PL_150 Rev 00 General Arrangement Car North & South Car Parks Level 01 - Drawing no: A_PL_151 Rev 00 General Arrangement Car North & South Car Parks Level 02 - Drawing no: A_PL_152 Rev 00 | Alternative Scheme General Arrangement Plans North Car Park Drawing no: A_PL_160 |
| General Arrangements Car Parking South Building Drawing no: A_PL_401 Rev 01 | No change |  | Alternative Scheme General Arrangement Plans South Car Park Drawing no: A_PL_161 |
| - |  |  |  |
| - | - | General Arrangement Sections North & South Car Parks East/West & North/South – Drawing no: A_PL_250 Rev 00 |  |
| - | - | General Arrangement Elevations North Car Park North, South, East & West – Drawing no: A_PL_350 Rev 00 | Alternative Scheme General Arrangement Elevations North Car Park Drawing no: A_PL_360 |
| - | - | General Arrangement Elevations South Car Park North, South, East & West – Drawing no: A_PL_351 Rev 00 | Alternative Scheme General Arrangement Elevations South Car Park Drawing no: A_PL_361 |
| - | - | General Arrangement Sections North and South Car Parks, East/West, & North/South – Drawing no: A_PL_250 Rev 00 | Alternative Scheme General Arrangement Sections North & South Car Park Drawing no: A_PL_260 |

The reason for the proposed changes, as set out by the applicant, is that further design changes have been made to relocate the staff changing facilities to the car parking structure, which is intended to create a consolidated block in each of the car parking structures, so that the cycle stores and changing facilities are located adjacent to one another, proposed to provide an improved user experience.  The proposed changes provide an alternative to the previous NMA (181608 - NMA2), however the proposed amendments to the roof plant area, canopy and building entrance (approved under 181608) are retained under this application.

Objections Received (Summary):

Applications under S96A are not applications for planning permission, so are not covered by the publicity requirements as set out in the DMPO.  However, Transport were consulted and their responses are as follows:

“The proposed non-material change realigns the car park and following a review it is acknowledged that the previously approved car parking provision of 702 spaces is being increased to 716 spaces.  The supporting documents state that the previous provision is however being maintained but this is not the case.  This increase in parking is above the Councils Maximum Parking Standards and therefore cannot be supported and therefore revised plans are required to ensure that the maximum car parking provision on the site is 702 spaces.

The cycle parking numbers are to be increased from 136 to 264 spaces and this is accepted given that this would be in excess of the Councils standards.  The type of cycle parking would however need to be provided and this would be dealt with by the condition provided as part of application 160569.

The only other point I have thought of would be that the SuDs scheme was agreed at the application stage and condition 24 requires the applicant to complete the scheme in accordance with the approved details, would they need to address this now or submit a discharge of condition application to address the revised layout and the changes this will have on the drainage scheme.

Please ask the applicant to submit suitably amended plans to address the above prior to determining this application.”

Planning Officer note: Following confirmation from the applicant that the number of car park spaces matches the number of car parking spaces allocated in January 2017 consent (Ref.160569).  Transport confirmed acceptance of the amended car parking details.  The following is a summary of the how the car parking is distributed:

Approved under original permission 160569:

Disabled spaces                       20

At grade spaces                        214

Car park structures spaces        488

Total spaces                             722

Proposed under this application (NMA3):

Disabled spaces                       20

At grade spaces                        208

Car park structures spaces        494

Total spaces                             722

The applicant also provided a technical note regarding the SUDs (Flood Risk and Sustainable Design Solutions – Design Note no. 3, Project no; 1620001295, dated 27/11/18, prepared by Ramboll, received 28th November 2018

Transport further commented as follows:

“I have reviewed the updated document and I do not agree with the details as proposed.  I appreciate that the area of hardstanding is reducing and the soft landscaping is increasing but the SuDs strategy was fully approved at the application stage and includes attenuation tanks, permeable paving, drainage pipes etc. that will all be affected by the proposed changes.  The proposal as part of this NMA would result in this approved drainage strategy not being implementable and as such a revised SuDs layout would be required.

This could be regularised as part of this application with the submission of additional information or as you have suggested we place an informative on this permission stating that an additional NMA would be required to regularise this situation.”

Planning Officer note:  An informative is recommended advising the applicant that in order to implement this amended scheme that the SUDS strategy will have to be updated and submitted under a further NMA, as that originally approved will not be relevant to this amended scheme.

Relevant Planning History:

160569/FUL - Development of commercial office buildings (B1 Use Class), access, decked and surface car parking, cycle parking, landscaping, servicing, associated engineering and ancillary works – Approved – 23/1/17

180639/NMC - Non material amendment to planning application 160569 including increasing the height, varying the siting/footprint and increasing the GEA by 645sqm – Approved 29/5/2018

181608/NMA - Non Material Amendment for changes to the approved plans under Condition 2 of the Planning Permission Ref. 160569 (as amended by 180639) – Approved 29/10/2018

Appraisal:

- The proposed changes are considered acceptable within the overall scale of the scheme and are not considered to be harmful to the character and appearance of the proposal, nor the access to and around the building.

- The proposed changes are considered to be acceptable as an NMC.

As the original permission was with regard to a major application, confirmation was sought from and approved by Councillors that this could be a delegated decision, rather than being considered by Planning Applications Committee.

Conclusion:

The changes as proposed are considered to be acceptable non-material alterations to the approved scheme.

Recommendation:

Approve non-material amendment subject to conditions.

Although Section 96(A) of the Act does not allow for the original decision to be re-issued, it does allow the modification of, or imposition of, conditions. In this respect it is considered appropriate to impose an additional condition:

Condition

The plans hereby approved by this Non-Material Change (under Section 96A of the Town and Country Planning Act 1990) are as follows, as received 4th October 2018, unless otherwise indicated:

- Alternative Scheme Site Plan -  Drawing no:A_PL_020

- Alternative Scheme General Arrangement Plan Level 00 - Drawing no: A_PL_110

- Alternative Scheme General Arrangement Plan Level 01 - Drawing no: A_PL_111

- Alternative Scheme General Arrangement Plan Level 02 - Drawing no: A_PL_112

- Alternative Scheme General Arrangement Plan Level 03 - Drawing no: A_PL_113

- Alternative Scheme General Arrangement Plan Level 04 - Drawing no: A_PL_114

- Alternative Scheme General Arrangement Plan Level 05 - Drawing no: A_PL_115

- Alternative Scheme Site Context Sections East/West & North/South - Drawing no: A_PL_210

- General Arrangements Sections East/West North and South Buildings – Drawing no: A_PL_201 Rev 03, received 16th October 2018

- General Arrangements Sections East/West North and South Buildings – Drawing no: A_PL_202 Rev 03, received 16th October 2018

- General Arrangements Elevations North and East – Drawing no: A_PL_300 Rev 03, received 16th October 2018

- General Arrangements Elevations South and West – Drawing no: A_PL_301 Rev 03, received 16th October 2018

- General Arrangements Elevations South North and South Buildings - Drawing no: A_PL_302 Rev 03, received 16th October 2018

- Alternative Scheme General Arrangement Plans North Car Park - Drawing no: A_PL_160

- Alternative Scheme General Arrangement Plans South Car Park - Drawing no: A_PL_161

- Alternative Scheme General Arrangement Elevations North Car Park - Drawing no: A_PL_360

- Alternative Scheme General Arrangement Elevations South Car Park - Drawing no: A_PL_361

- Alternative Scheme General Arrangement Sections North & South Car Park - Drawing no: A_PL_260

Reason: to clarify which plans are approved by this Non-Material Change.

INFORMATIVES

1. This notice relates only to the changes to condition 2 of planning permission 160569.  It shall only be read in the context of the substantive planning permission granted under reference number 160569, and is bound by all the conditions and obligations attached to that permission. That permission still stands and this notice (and any other notices issued under section 96a for this development) should be read together.

2. In reaching this decision, the local planning authority is satisfied that the changes proposed by this application do not constitute material changes to the approved planning permission.

3. The amendments approved under this permission would require amendments to the approved SUDS scheme, as originally approved under condition 24 of permission 160569 as follows:

24. No building hereby permitted shall be occupied until the sustainable drainage scheme for the site has been completed in accordance with the submitted and approved details (Surface Water Drainage Strategy, prepared by PBA, dated April 2016, received 14th July 2016).  The sustainable drainage scheme shall be managed and maintained thereafter in accordance with the agreed management and maintenance plan.

Reason: To minimise the flood risk arising as a result of the development and in the interests of preserving or improving groundwater quality. In accordance with Adopted Core Strategy (2008, altered 2015) Policies CS1: Sustainable Construction and Design and CS34: Pollution and Water Resources and Adopted Sites and Detailed Policies Document (2012, altered 2015) Policy DM1: Adaptation to Climate Change, and NPPF Paragraph 103 and associated Practice Guidance.

Therefore, prior to the implementation of the amended scheme hereby approved, there would need to be an amended SUDS scheme approved, otherwise condition 24 of the original permission would be deemed to not have been discharged.