File Contents Material Submittals For Primark.

- Sample No 003.  Ardex Data Sheet K301 and location on GA plan.

- Sample No 243. Pedimat 11mm Data Sheet and location on GA plan .

- Sample No 071. Glass Door Section with Dorma 100mm Base, highlighted location on elevation drawing.

- Sample No 238. Glazed Shopfronts highlighted location on elevation drawing.

- Sample No 233. Morey Smith GA Roof Plan of Screens. Levolux      Construction drawing & RAL 1035 swatch sample of powder coated finish.

- Sample No 244. Black Gutter, Stop End, Bracket and pipe connection. Marley Data Sheet Deepflow 150 and highlighted location on elevation drawing.

- Specification Ref 485. Sunray Sub-Station Doors and Screen on Cheapside with Sunray details and highlighted location on elevation drawing.

- Sample No 114. Mock Up of Atrium Curtain Walling / Framing System and Roof Glass. Data /Technical documents and highlighted location on plan drawing.

- Sample No 098. Low Iron Double Glazed Unit to Lift Shaft Glazing as per highlighted locations on elevation drawing.

- Sample No 248. External Sto Render to lift over run and render bands around Atrium. Sto Render External Wall Insulation System Guide. Highlighted locations on elevation drawing.

- Sample No 249. Roof Felt to flat roof areas. Proteus Pro-Felt Endura Mineral 5.8 Datasheet. Morey Smith Roof Plan GA.

- Sample No 250. Metal Cladding to West Street Columns, Soffits and Stall Risers. Morey Smith Elevation Drawing and highlighted detailed section drawings showing locations.

Compiled By:-

Mr Paul Acheson

Senior Design Manager

BW Interiors

paul.acheson@wearebw.com

Mobile :- 07827 943 667

6th July 2017