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File Contents Material Submittals For Primark. 

1. Sample No 003.  Ardex Data Sheet K301 and location on GA plan. 

2. Sample No 243. Pedimat 11mm Data Sheet and location on GA plan . 

3. Sample No 071. Glass Door Section with Dorma 100mm Base, highlighted location on elevation drawing. 

4. Sample No 238. Glazed Shopfronts highlighted location on elevation drawing. 

5. Sample No 233. Morey Smith GA Roof Plan of Screens. Levolux      Construction drawing & RAL 1035 swatch sample of powder coated finish.  


6. Sample No 244. Black Gutter, Stop End, Bracket and pipe connection. Marley Data Sheet Deepflow 150 and highlighted location on elevation drawing.   

7. Specification Ref 485. Sunray Sub-Station Doors and Screen on Cheapside with Sunray details and highlighted location on elevation drawing.  

8. Sample No 114. Mock Up of Atrium Curtain Walling / Framing System and Roof Glass. Data /Technical documents and highlighted location on plan drawing. 

9. Sample No 098. Low Iron Double Glazed Unit to Lift Shaft Glazing as per highlighted locations on elevation drawing. 

10. Sample No 248. External Sto Render to lift over run and render bands around Atrium. Sto Render External Wall Insulation System Guide. Highlighted locations on elevation drawing.   

11. Sample No 249. Roof Felt to flat roof areas. Proteus Pro-Felt Endura Mineral 5.8 Datasheet. Morey Smith Roof Plan GA. 

12. [bookmark: _GoBack]Sample No 250. Metal Cladding to West Street Columns, Soffits and Stall Risers. Morey Smith Elevation Drawing and highlighted detailed section drawings showing locations. 
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