Delegated Application Report 				          Target Date: 03/08/17

Address: 41 Oak Tree Road

Application No: 171298/CLP

Proposal: Outbuilding

Case Officer: Julie Williams

Introduction and Proposal

The application site is one of two recently built (within last 5 years) two storey detached properties.  Permitted development rights to alter or extend the roof (Classes B & C) were removed when planning permission was granted but all other rights to extend or alter the property remain.  There is an existing outbuilding structure across almost the full width of the garden at the end of the garden.  The surrounding area is predominantly residential although the rear of the property is partially overlooked from the adjacent public park.

The proposal is for an outbuilding, to be located at the end of the rear garden. The existing structure would be removed.  The outbuilding would extend across almost the full width of the garden at 9940 mm and 3000 mm deep with a parallelogram shape.  A distance of about 500mm would be retained from the boundary at either end and the rear.  The outbuilding would have a flat roof at a height of 2.5m.

To room would be sub-divided with a shower/wc room, a garden room and a “home office”.  The outbuilding would have a total floor area of c30 square metres. Materials proposed on outside walls is cedar cladding.

Plans Submitted

The agent supplied the following, received on 1th August 2017:

Drawing No: 01 – Site Location/Block Plan/Existing Plan and Elevations

Drawing No: 02 – Proposed Plan & Elevations

Statement with image of materials

Relevant Planning History

11/00956/FUL - Demolition of existing house and erection of two 4-bed detached houses and 1 detached garage with new access from highway. Application withdrawn 01.09.2011.

11/01496/FUL - Demolish existing detached dwelling and garage and construct two 4-bed detached dwellings and one detached garage and provide one new access from highway (resubmission of 11/00956/FUL). Permitted

11/01906/NMC to above application - Agreed

Summary of Consultations

No consultations are required for an application of this type.

Relevant Planning Policy and Guidance

National Planning Practice Guidance

The Town and Country Planning (General Permitted Development) (England) Order 2015 (GPDO)

Permitted development rights for householders – Technical Guidance April 2017

Assessment

A Certificate of Lawfulness for a proposed development has been submitted as the applicant considers the proposal falls within the permitted development rights of the property.

The proposed outbuilding must be assessed to ensure that it complies with the conditions of Class E, Part 1, Schedule 2 of the Town and Country Planning (General Permitted Development) (England) Order 2015, which relates to ‘buildings etc incidental to the enjoyment of a dwellinghouse’.

The relevant conditions of the GPDO for an outbuilding, which is not listed or in a conservation area, are as follows:

E.1 Development is not permitted by Class E if:

E.1 (a) permission to use the dwellinghouse as a dwellinghouse has been granted only by virtue of Class M, N, P or Q of Part 3 of this Schedule (changes of use); complies

E.1 (b) the total area of ground covered by buildings, enclosures and containers within the curtilage (other than the original dwellinghouse) would exceed 50% of the total area of the curtilage (excluding the ground area of the original dwellinghouse); complies

E.1 (c) any part of the building, enclosure, pool or container would be situated on land forward of a wall forming the principal elevation of the original dwellinghouse; complies

E.1 (d) the building would have more than a single storey; complies

E.1 (e) the height of the building, enclosure or container would exceed (i) 4 metres in the case of a building with a dual-pitched roof, n/a (ii) 2.5 metres in the case of a building, enclosure or container within 2 metres of the boundary of the curtilage of the dwellinghouse, complies or (iii) 3 metres in any other case; n/a

E.1 (f) the height of the eaves of the building would exceed 2.5 metres; complies

E.1 (g) the building, enclosure, pool or container would be situated within the curtilage of a listed building; n/a

E.1 (h) it would include the construction or provision of a verandah, balcony or raised platform; n/a

E.1 (i) it relates to a dwelling or a microwave antenna; n/a  or

E.1 (j) the capacity of the container would exceed 3,500 litres. n/a

E.2 In the case of any land within the curtilage of the dwellinghouse which is within:

(a) an area of outstanding natural beauty;

(b) the Broads;

(c) a National Park; or

(d) a World Heritage Site,

development is not permitted by Class E if the total area of ground covered by buildings, enclosures, pools and containers situated more than 20 metres from any wall of the dwellinghouse would exceed 10 square metres. complies

E.3 In the case of any land within the curtilage of the dwellinghouse which is article 2(3) land, development is not permitted by Class E if any part of the building, enclosure, pool or container would be situated on land between a wall forming a side elevation of the dwellinghouse and the boundary of the curtilage of the dwellinghouse. complies

Recommendation

Sufficient evidence has been provided to demonstrate that a Certificate of Lawfulness should be granted for the proposed outbuilding.

The proposal has been assessed against the Town and Country Planning Act 1990 (as amended) and Class E, Part 1, Schedule 2 of the Town and Country Planning (General Permitted Development) (England) Order 2015. It can be confirmed that the proposed operation would be lawful for planning purposes on the basis of the drawings received on 1st August 2017:

Drawing No: 01 – Site Location/Block Plan/Existing Plan and Elevations

Drawing No: 02 – Proposed Plan & Elevations

Therefore the Local Planning Authority can issue the applicant with a Certificate of Lawfulness for the proposed development.

Informatives

Encroachment and Party Wall Act

Construction and Demolition

Ancillary use ony