CONSTRUCTION METHOD STATEMENT FOR DEVELOPMENT OF MUGA AND CHANGING ROOMS AT ST JOSEPH’S COLLEGE READING UPPER REDLANDS ROAD READING RG1 5JT

APPLICATION NUMBER 151719

Introduction:

With respect to the construction works involved in the development of a Multi-Use Games Area (MUGA) and associated changing rooms, there is no demolition requirement for the MUGA or changing block as both are being installed on existing sports pitches.

The MUGA involves the levelling of grounds and installation of artificial turf, installation of protective fencing and roof netting, erection of lights on the larger MUGA.

The changing rooms are of modular construction and will be fabricated off-site prior to installation at the end of the project.

The College will remain open throughout the construction phase and the safety of our students and the convenience of our parents have been of the highest priority in the planning of the construction methods and limitations.

All aspects of the Conditions of Planning will be adhered to.

With respect to the specific items in condition 9:

- The parking of vehicles for site operatives and visitors will be within the St Joseph’s existing parking provision.

- All loading and unloading of plant and materials will take place within the St Joseph’s campus on the access road alongside the existing playing field.

- Storage of all plant and materials used, will be within a fenced compound consisting of the existing playing field and hard court.

- The working site will be protected by a Harras fenced compound, there is no requirement for scaffold.

- All deliveries will be on metalled road within the site so should not generate mud contamination of wheels, however wheel washing facilities will be provided via a portable jet wash as required.  Tracks will also be laid on the existing grass to protect that being retained.

- All efforts will be made to control the deposition of mud on surrounding roads in accordance with the method statement previously submitted in Feb 2016.

- There are no intended road or footpath closures planned, apart from during the manoeuvring of large vehicles onto site, under the control of Banksmen. Deliveries are scheduled to be outside of peak traffic times as the school will remain open throughout the construction phase.

- Traffic management will be provided for all on and off site vehicular movement.  Only one gate in or out of the site is being utilised, outside of peak traffic hours.

- Single point of access for construction traffic and delivery vehicles off Upper Redlands Road, through the gate closest to the MUGA site.  No demolition work is involved. Excavation will involve levelling the site of the current grass pitch but it is intended that most soil will be redistributed as part of the levelling process.  A small amount of excess topsoil may be removed off site in accordance with the method statement submitted in February 2016.

- Significant limitations have been placed upon the contractors to minimise the noise and dust emanating from the site, particularly as the school will remain open and lessons continue.

The hours of noisy construction, demolition (none required) and associated deliveries will be restricted to the hours of 08:00hrs to 18:00hrs Monday to Friday and 09:00hrs to 13:00hrs on Saturdays.  There will be no construction works on Sundays or Bank Holidays.

Deliveries to the site will be between 0915 and 1700.

Construction (excavation) work is planned to commence on 9 May 2016 under the supervision of the appointed Archaeological Consultant in accordance with the Archaeological Written Scheme of Investigation.

Anthony Leggett

Bursar

St Joseph’s College

Upper Redlands Road

Reading

RG1 5JT

4 May 2016