DELEGATED APPLICATION REPORT 					Target Date: 04/02/2016

Application No: 152216/LBC

Address: 68 Broad Street

Proposal: Repairs to the rainwater goods and brickwork mortar to return property to a watertight condition

Case officer: Heather Banks

Site Description and Surrounding Area:

The site is located fronting Broad Street within the Reading Central Area. The unit is a Grade II listed three storey building with attic and basement built in a Norman Shaw manner style. The property was built in 1890’s or Circa 1900’s and consists of a ground floor retail shop with converted storage to the upper floors. The building is the only listed building on this part of Broad Street and the surrounding character is retail. The important features stated on the listing are mostly associated with the front façade, including a decorative cast iron down pipe and hopper. At present the rainwater goods are causing an ingress of water into the building, causing damage to both the interior of the property and to the brickwork, some of which is decorative, which sits behind the down pipes and hopper.

Proposal:

Listed building consent is sought for repairs to the rainwater goods and brickwork mortar to return the property to a watertight condition

The works to the rainwater goods are to consist of a light preparation of the surface, using a scotch pad or similar to provide a key for redecoration, and wash down to remove grease and film to the surface. The joints will also be treated with a paint stripper and then 2 coats of a zinc based primer are to be applied followed by 1 coat of micaceous iron oxide. The downpipes and joints will then be decorated with 2 coats of White Dulux weather shield gloss paint to match the original.

With respect to the damaged brickwork, the vegetation is to be removed, and the brickwork carefully cleaned down. The open mortar joints that have been damaged will be raked out to a depth of 20mm and repointed with non-hydraulic lime mortar.

Documents Considered:

The agent supplied the following documents, received on 11th December 2015:

Drawing No: AP-001 – Site Location and Block Plan

Heritage, Design and Access Statement

Schedule of Works

Relevant Planning History:

151888/LBC - Repairs to roofs and brickwork to return property to a watertight condition. Permitted 30/12/2015

151657/LBC and 151656/FUL – Change of use from A1 to Sui Generis (Beauty Salon) – Permitted 24/12/2015

141167/ADV and 141166/LBC – Proposed new fascia sign – Withdrawn 23/03/2015

12-00346-ADV and 12-00345-LBC - Front facia sign and trough light above shop front – Permitted 26/04/2012

11-01505-LBC and 11-01504-FUL – Removal of existing glass metal frame and installation of 4 roof lights, new lead flashing to the roof, demolition of gable wall, new door opening and replacement door and window to rear elevation. – Permitted 28/11/2011

02-00587-ADV - Replace existing fascia and projecting sign – Permitted 21/06/2002

91-00407-ADV - New fascia sign and replacement panels to existing projecting box sign – Permitted 12/06/1991

Equality Act 2010:

In determining this application the Council is required to have regard to its obligations under the Equality Act 2010. However, there is no indication or evidence (including from consultation on the application) that the protected groups identified by the Act have or will have different needs, experiences, issues and priorities in relation to this particular planning application. Therefore in terms of the key equalities protected characteristics it is considered there would be no significant adverse impacts as a result of the development.

LEGAL AND PLANNING POLICY CONTEXT

Section 16(2) of the Planning (Listed Buildings and Conservation Areas) Act 1990 requires the local planning authority to have special regard to the desirability of preserving the listed building or its setting or any features of special interest which it possesses.

National Planning Policy and Guidance

National Planning Policy Framework (NPPF)

National Planning Practice Guidance

Historic England Good Practice Guide Note Number 2: managing significance in decision-taking

Reading Borough Local Development Framework Adopted Core Strategy (2008) (Altered 2015):

CS7     Design and the Public Realm

CS33	Protection and Enhancement of the Historic Environment

Sites and Detailed Policies Document – (Adopted October 2012) (Altered 2015)

DM4     Safeguarding Amenity

APPRAISAL

Historic Character and Appearance

It is not considered that the proposal will significantly harm the character of this historic asset. The nature of the works is minor ‘repair’ work and the proposed materials to be used are considered suitable for this Listed Building. It is felt that the proposed repairs will protect and enhance the character of the application building.

Conclusion

The proposed repair works have been assessed and found to be acceptable as they comply with the identified policies.

RECOMMENDATION:

GRANT Listed Building Consent

Conditions:

- The works to which this consent relate shall be begun not later than the expiration of three years from the date of this consent.

Reason: in accordance with Section 18 of the Planning (Listed Building and Conservation Areas) Act 1990 as amended by the Planning and Compulsory Purchase Act 2004.

- The materials to be used in the repair of the various surfaces of the building shall match those used on the existing building unless otherwise specified in the documents submitted.

Reason: In order to protect the special historic and architectural character of the listed building, in accordance with Policy CS33 of the Reading Borough Local Development Framework Core Strategy 2008 (Altered 2015)

Informatives:

- Your attention is drawn to the terms and conditions of this permission. Any development which is carried out but differs materially from the approved plans and details, or does not comply with any condition (s) or planning obligation (s) attached to the permission may result in the Council taking action to remedy the breach of planning control. If you are in any doubt please contact the council.

- Officers have worked positively and proactively to provide a recommendation for approval within the statutory timescale.

- For the avoidance of doubt, no other works are approved except those as authorised by this Consent.  Any other works required to the Listed Building may require a separate application for Listed Building Consent and/or an application for Permitted Works to a Listed Building.

- The permission relates only to the following documents as received 11th December 2015:

Drawing No: AP-001 – Site Location and Block Plan

Heritage, Design and Access Statement

Schedule of Works