PRIOR APPROVAL REPORT			Target Date: 29/03/2016

Address:  18 Prospect Street

Application No: 160183/SRP

Applicant: Yasmina Siadatan and Andy Bryant, Brywel Associates

Case Officer: Heather Banks

Introduction:

The application site is a terraced property on the west side of Prospect Street, with a vacant retail unit at ground floor level and what appears to be a residential flat above. The retail unit was most recently occupied by Wordplay Bookshop until the end of September 2015. There had previously been a bookshop on this site for 30 years. The application site sits within Caversham High Street, the local centre for this part of Reading. There are a mix of Class A uses within the High Street and a number of vacant units. The area is characterised by terraced properties with Class A uses at ground floor and either office or residential uses on the upper floors.

Proposal:

Change of use of ground floor unit from an A1 shop to an A3 restaurant. Prior Notification under Class C, Part 3 of the Town and Country Planning (General Permitted Development) (England) Order 2015.

The application letter states that there are no structural changes proposed to either the interior or the exterior of the building.

It is proposed that the premises will serve hot and cold, alcoholic and non-alcoholic drinks and cold food only. The opening hours are proposed to be from 9am to midnight and waste is to be disposed of in the carpark to the rear of the premises, as is the current practice.

The site notice was erected by the planning officer on the 24th February 2016 and it was noted at this time that shop vacant but the signage from ‘WordPlay’ was still in place.

# Relevant policies and supplementary planning guidance:

Legal context

Class C(a) allows development consisting of a change of use of a building and any land within its curtilage to Class A3 (restaurants and cafes) from a Class A1 (shop).

Before development can be carried out under Class C(a), the developer must apply for a determination as to whether prior approval is required in respect of:

i.	noise impacts of the development

ii.	odour impacts of the development

iii.	impacts of storage and handling of waste in relation to the development

iv.	impacts of hours of opening of the development

v.	transport and highways impacts of the development

vi.	whether it is undesirable for the building to change to a use falling within Class A3 (restaurants and cafes) of the Schedule to the Use Classes Order because of the impact of the change of use –

- On adequate provision of services of the sort that may be provided by a building provided by a building falling within Class A1 (shops) or, as the case may be, Class A2 (financial and professional services) of that Schedule, but only where there is a reasonable prospect of the building being used to provide such services

- Where the building is located in a key shopping area, on the sustainability of that shopping area

In assessing these issues, officers must have regard to the NPPF as if the application were a planning application, and also have regard to the Local Development Framework (the NPPF states that due weight should be given to the adopted policies of the Local Development Framework according to their degree of consistency with the NPPF (the closer the policies in the plan to the policies in the NPPF, the greater the weight that may be given)).

### Reading Borough LDF Core Strategy - Adopted January 2008 (altered 2015)

CS27		Maintaining the Retail Character of Centres

Sites and Detailed Policies Document – Adopted October 2012 (altered 2015)

DM4		Safeguarding Amenity

DM12		Access, Traffic and Highway Related Matters

DM13		Vitality and Viability of Smaller Centres

Planning history

94-00376-FUL – Alteration of existing shop front. Permitted 21/06/1994

90-00522-FUL – First floor rear extension to existing flat to form bedroom; erection of second 1 bedroom flat at first floor level; installation of new shop front. Refused 19/07/1990

88-01293-FUL – Extension of shop for residential and office use. Refused 12/01/1989

Response to publicity (representations received):

In relation to this 'prior approval' application, a site notice was attached to a lamp post in front of the property on the 24th February 2016 and the 21 day consultation period expired on the 16th March 2016. One observation and one objection were received. The points raised were in relation to:

- More pressure on limited parking

- The number of A3 uses already in Caversham Centre and the need for more diversity

- Increase in waste bins in the car park

Consultation responses:

Transport:

RBC Transport Strategy stated that they had no transport objections to the proposal.

Environmental Health:

The RBC Environmental Health department raised concerns related to odour and noise. It should be noted that these comments were made without the information provided in the application form, as this was not forwarded to the case officer until 24th March 2016.

It was stated that as a noise assessment had not been submitted with the application they were unable to determine the likely noise impact of the proposal and whether the proposals are acceptable.  It was therefore recommended that the application be refused unless a noise assessment can be submitted and considered before the application is determined. They stated that applications which include noise generating plant and are nearby to noise sensitive receptors, should be accompanied by an acoustic assessment carried out in accordance with BS4142:2014 methodology. The upper floors of the building may be in residential use and would be a sensitive receptor to be considered for the purposes of a noise assessment.

It was also stated that in addition to concerns about noise, odour is a common concern from food businesses and kitchen extraction is essential in the control of odours. As the applicants have not provided sufficient information to demonstrate that cooking odours will be controlled, refusal is recommended until satisfactory odour control information has been submitted. It was stated that the applicant should provide an odour control statement detailing how food cooking odour will be controlled and this should include:

- Type of food to be prepared

- Details of any proposed filtration / deodourisers

- Elevation plan to show extraction unit location and discharge height

- Scheduled maintenance plan based on manufacturer’s instructions.

It was also suggested that the applicant should refer to the Defra Guidance on the Control of Odour and Noise from Commercial Kitchen Exhaust Systems (January 2005) when making an application for kitchen extraction.

Appraisal:

Development is not permitted by Class C in the following instances (officer comments follow in italics):

(a)	the cumulative floor space of the existing building changing use under Class C exceeds 150 square meters.

It does not

(b)	the development (together with any previous development under Class C) would result in more than 150 square meters of floor space in the building having changed use under Class C

Not applicable in this instance

(c)	the land or the site on which the building is located is or forms part of –

- 	a site of specific scientific interest

-	a safety hazard area; or

-	a military explosives storage area

It does not

(d)	the site is, or contains, a scheduled monument

It does not

(e)	the land or building is a listed building or is within the curtilage of a listed building

It is not

Development is also not permitted by Class C if it cannot be proved that the application site is in A1 (retail) use.

No information has been provided by the applicant to demonstrate that the application site is in A1 (retail) use. It has also been found that no Certificate of Lawfulness or planning permission has been issued stating that the legal use of the building falls within Class A1(retail).

However, the planning history for this site demonstrates that this property was in use as a shop in 1988, 1990 and 1994. Images from google street maps also demonstrate that this site was in use as a bookshop in May 2012, May 2014 and July 2014. An article in ‘getreading’ features the closing of WordPlay bookshop on this site in September 2015 and also states that there has been a bookshop on this site for 30 years. If a site has been in continuous use under a particular use class for over 10 years, it is considered to be immune to enforcement action. It is felt that, given the above evidence, although not conclusive, on the balance of probability it is likely that that the application property has been in A1 (retail) use for a period of longer than 10 years.

There are conditions to Class C:

This assessment can only consider the noise, odour, storage and handling of waste, hours of opening and transport impacts of the development as well as the impact of the development on the provision of A1 uses in this area and its impact on the sustainability of that shopping area.

In these regards:

Noise

There is no noise generating plant proposed with this application. It is proposed that there will be music played on the premises and ‘the volume will be like any other café/restaurant style establishment’. It has also not been clarified what the use of the upper floors of this property are in use as. It is probable that they are in C3 use, as planning permission 90-00522-FUL, refers to an extension to the existing flat and from the site visit conducted, it appears as though curtains are fitted to the windows.

It is considered that whilst the proposed use of the building maybe suitable in terms of noise impacts, insufficient information has been submitted to establish this. Also whilst the proposed café may not have any noise generating plant, under this Prior Approval application, should prior approval be given, it will be for a change of use to any use within Class A3. It is therefore suggested that a condition be attached, should prior approval be granted, requiring the submission of a noise assessment, carried out in accordance with BS4142:2014, before commencement of any works to the property, to ensure that noise levels are controlled to a level considered suitable in respect to nearby noise sensitive receptors.

Odour

The submitted application form states that no extraction is being proposed as no hot kitchen is being built. Only cold food is to be served at the proposed establishment. However, whilst the proposed café may not have any extraction plant or be proposing to prepare particularly odourous foods, under this Prior Approval application, should prior approval be given, it will be for a change of use to any use within Class A3. It is therefore suggested, that should prior approval be granted, a condition be attached requiring that should any ventilation of extraction plant be installed at the property in the future, it must first be approved by the Local Planning authority, through the submission of an odour control statement. This should detail how food cooking odour will be controlled and should include:

- Type of food to be prepared

- Details of any proposed filtration / deodourisers

- Elevation plan to show extraction unit location and discharge height

- Scheduled maintenance plan based on manufacturer’s instructions.

Storage and handling of waste

It is proposed that waste will be stored and collected from the car park to the rear of the premises, as had been the practice by the previous A1 use at this address. As no details have been supplied regarding the area to be used for this, it is suggested that should prior approval be granted, a condition be attached requiring the details of the proposed bin stores to be submitted to and approved in writing by the Local planning Authority, in order to ensure that adequate provision is made for the storage and collection of refuse.

Hours of opening

It is proposed that the hours of opening for the establishment will be 9am – midnight. Considering the presence of C3 uses at first and second floor level of many of the properties in this shopping area, and the conditions restricting opening hours on other restaurants and cafes in the area, it is considered that opening hours should be restricted to 8am to 11pm, in order to protect local residents from unreasonable disturbance arising from the use,

Transport

RBC Transport Strategy stated that they had no transport objections to the proposal.

Provision of A1 and the sustainability of the shopping area

The change of use from Class A1 (retail) to Class A3 (restaurants and cafes) will result in the proportion of the Key Frontage of this District Centre being in A1 (retail) use dropping from just over 50% to just under 50%. Policy DM13 (Vitality and Viability of Smaller Centres) of the Sites and Detailed Policies Document states that, for Caversham District Centre, the length of Key Frontage in A1 use should exceed 50% of the total length of Key Frontage in that area, if development involving a net loss of A1 retail is to be permitted. The proposal would therefore be contrary to this policy.

The change of use from Class A1 (retail) to Class A3 (restaurants and cafes) will also result in 4 consecutive units which are not in A1 retail use. %. Policy DM13 (Vitality and Viability of Smaller Centres) of the Sites and Detailed Policies Document states that for development to be permitted there should be no more than 3 consecutive units which are not in A1 retail use.

The applicant argues that there are 6 empty retail units in Caversham that have been empty for a period of approximately 2 years. They therefore feel that there is not a reasonable prospect of the application site being used to provide A1 uses and that the sustainability of the shopping area would be better served by the site being in A3 use than being vacant. This consideration is set out in the Gerneral Permitted Development Order 2015, Part 3, Class C, section C2. (1) (f)(i).

It is therefore considered that whilst it is undesirable for the application site to change to a use falling within Class A3 (restaurants and cafes), the existing 7 empty units in Caversham High Street and the fact that the application property has been vacant and unsuccessfully on the market for approximately 6 months would suggest that there is not a reasonable prospect of the application site being used to provide A1 uses. These circumstances also suggest that the sustainability of the Caversham High Street shopping area would be better served by this change of use rather than the unit remaining vacant. Although the proposal would be contrary to Policy DM13 of the Sites and Detailed Policies Document (2012)(altered 2015), it is therefore considered that, in this instance, it would be suitable to approve this change of use.

Conclusion

In conclusion, it is considered that Prior Approval for this application should be granted for the reasons set out above, with the suggested conditions attached. It is considered that the proposals would be in accordance with policy CS27 of the Reading Borough LDF Core Strategy, Adopted January 2008 (altered 2015) and DM4 of the Sites and Detailed Policies Document, 2012 (altered 2015).

Recommendation:

GRANT Prior Approval

Condition

- The following information received by the Local Planning Authority has been assessed:

Received 26th January 2016:

Prior Approval Application letter

Site Plan

Received 11th February 2016

Prior Approval Application form

Reason: For the avoidance of doubt and in the interests of proper planning.

- The premises shall not operate outside the hours of 8am to 11pm.

Reason: in order to protect local residents from unreasonable disturbance arising from the use and in accordance with Policy DM4 of the Sites and Detailed Policies Document (2012)(altered 2015).

- Before occupation of this property by a use falling within Class A3, details of the proposed bin stores are to be submitted to and approved in writing by the Local planning Authority.  This area shall not thereafter be used for any purpose other than bin storage.

Reason: To ensure that adequate provision is made for the storage and collection of refuse in accordance with Core Strategy Policy CS2 and Sites and Detailed Polices document Policy DM12.

- Before occupation of this property by a use falling within Class A3, a noise assessment, carried out in accordance with BS4142:2014, should be submitted to the Local Planning Authority for approval. The noise assessment should demonstrate that the proposed use will not cause an increase in the existing background noise level when measured / predicted in accordance with BS 4142:1997 methodology. The approved scheme shall be implemented before occupation of the unit.

Reason: to protect the amenity of neighbouring residents of the

proposed development and to comply with Policy DM4 (Safeguarding

Amenity).

- Should any extraction or ventilation systems be installed on this premises at a future date the scheme must first be submitted and approved in writing by the Local Planning Authority, and this approved scheme shall then be implemented before occupation. The scheme must demonstrate that the plant noise rating level will not cause an increase in the existing background noise level when measured / predicted in accordance with BS 4142:1997 methodology. An odour control statement must also be submitted with the scheme and should include:

- Type of food to be prepared

- Details of any proposed filtration / deodourisers

- Elevation plan to show extraction unit location and discharge height

- Scheduled maintenance plan based on manufacturer’s instructions.

Reason: to protect the amenity of neighbouring residents of the

proposed development and to comply with Policy DM4 (Safeguarding

Amenity).