Discharge of Conditions  St Peters avenue RG4 7DP

Application No. 150172

3.

a)  Materials for external surfaces

Unit 1

Roof. Spanish slate as per picture  600 x 400 pic 1

Ground floor , off  white resin render ( pic 2 )

First floor , Natural Siberian lartch 120 x 19 mm tongue and groove pic 4

Unit 2

Roof. Spanish slate as per picture  600 x 400

Ground Floor , brick Hardwicke Minster Beckstone Mixture 65mm pic 3

Pic 2

First floor. Off white resin render  pic 2