
Memo

From:  
(e)Transport Development Control Floor 1 North Rear Civic Offices Bridge Street Reading RG1 2LU

To:
Gary Miles  01189 372616  Gary.Miles@reading.gov.uk 

Date:
10 May 2024
Re:
Consultation on Planning Application 

Application Number: 240446








Application Type: Approval of Conditions

Address:  163 Northcourt Avenue Reading  RG2 7HG
Proposal: Application for approval of details reserved by condition 4 (Construction Method Statement) of application 230587 

Condition 4 – Construction Method Statement

A Construction Management Plan has been submitted to discharge Condition 4, of planning permission reference no.230587. 

I comment on the submitted Construction Phase Plan in accordance with the requirements of condition 4.  

a) Space on site where vehicles of site operatives and visitors can be parked with details of how site operatives and visitors will be required to make use of the parking area provided;

Clarification is sought.  No contractor parking should be undertaken on the public highway. A site up plan is required illustrating the location of contractor parking. 
Please see attached construction phase traffic management plan. All subcontractors are notified about the parking restrictions in the tender stage and reminded about it before work commences. There is to be no parking on site due to limited space available.  Page 4 of our CPTMP, in the control measures section states that operatives will deliver tools to site for drop off only, where our banksman will be in attendance. They will then direct them to park at the nearest public car park: in this instance Car park 1, Address?, please see attached or map below.
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But there are also paid for a day in advance options in private parking locations near by.
b) Location of loading and unloading of plant and materials; 

Clarification is sought regarding how deliveries will be made to the site and where plant and materials will be stored. A site up plan is required illustrating the location of the storage and loading areas within the site. The CMS must also detail how delivery vehicles will safely access and egress the loading area.
Please see attached construction phase traffic management plan. Deliveries will be directed via our logistics manager and banked to the unloading area at the hard standing in the back of the site as the below drawings. The footpath will be closed and manned as vehicles drive across to ensure segregation from pedestrians.
Access for vehicles is directly off Northcourt Avenue. This will be the main route for delivering equipment, and materials, and for skip placement, with a designated area on-site for these activities. Vehicles must enter via Controlled gated access from the Northcourt Avenue, head straight to the site's waiting area at the entrance, unload or load materials, reverse for exiting under a stricken supervision from the Alcema accredited gatemen/traffic marshal and then leave via Northcourt Av
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c) The erection and maintenance (including removal of any graffiti or fly posters) of security hoarding around the site;

Clarification is sought. A site up plan is required illustrating the location of security hoarding and gates. 

Please see attached construction phase traffic management plan which describes how our site will be secured. We are a member of considerate contractors and our site appearance is also subject to internal auditing and governance. Any graffiti or fly posters will be removed immediately, the site hoarding will be regularly maintained and re-decorated as required.
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d) Identification of any footpath closures or road closures needed during construction;

Clarification is sought as this has not been addressed in the CMS. 
Further to our construction phase traffic management plan, paragraph 3, there is no requirement for any road closures for the duration of the project. There is also no requirement for any permanent footpath closure with the exception of when deliveries cross the site driveway. In this instance we will close and man the pavement while the vehicle crosses, this is only for a very short period and we will review the situation at the time and wait for any pedestrians to pass.

e) Required wheel washing facilities on site;
It is stated wheel washing stations will be established at the site’s exit.  Every vehicle exiting the site will undergo inspection and wheels will be washed as necessary. Roads will be subject to daily inspection and monitoring, and a road sweeper will be deployed to maintain road cleanliness. This is acceptable. 
Points f – j are non-transport relating and I have no additional comments to make. 
However, please request clarification on the above points before approving this condition.


