DELEGATED APPLICATION REPORT

Ward: Church

App Ref: 240241/CLP

Address: 259 Basingstoke Road, Reading, RG2 0HY

Proposals: Construction of an outbuilding to be used as a gym.

Case Officer: Chukwudi Onwudinanti

Applicant: Mrs Qudsia Rukhsar

Date received (valid from): 23 February 2024

Target Decision date: 4 June 2024	(EXT)

Introduction

The application site is a two storey semi-detached property with a long garden area to the rear.

Plans Submitted

The agent supplied the following drawings:

Location Plan dated 23/02/2024 received 27/02/2024

Proposed Block Plan received 27/02/2024

Drawing No PD01 Rev A: Proposed Plans and Elevations dated and received 16/05/2024

Proposal

The applicant proposes to construct a single flat mono-pitch roofed building consisting of a gym and shower room at the rear of the garden.

The proposal measures 5.01m in width, 6.19m in depth and 2.5m ground to highest point of the roof.

Relevant Planning History

Application Ref: 091360

Description: Retrospective application for an outbuilding in the rear garden of the property for purposes incidental to the enjoyment of the dwellinghouse.

Decision: Refused

Decision Date: 24/04/2009.

Dismissed at appeal.

Application Ref: 141508/CLP

Description: Certificate of Lawfulness for proposed single storey building in rear garden

Decision: Granted

Decision Date: 18/11/2014

Consultations

No consultations were undertaken as it is not required for an application of this type.

Relevant Planning Policy & Guidance

The National Planning Policy Guidance on Lawful Development Certificates (2014) states that:

“A local planning authority can grant a certificate confirming that:

(a) an existing use of land, or some operational development, or some activity being carried out in breach of a planning condition, is lawful for planning purposes under section 191 of the Town and Country Planning Act 1990; or

(b) a proposed use of buildings or other land, or some operations proposed to be carried out in, on, over or under land, would be lawful for planning purposes under section 192 of the Town and Country Planning Act 1990.

………In the case of applications for proposed development, an applicant needs to describe the proposal with sufficient clarity and precision to enable a local planning authority to understand exactly what is involved.”

Assessment

A Certificate of Lawfulness for a Proposed Development (under S.192 of the 1990 Act) has been submitted as the applicant considers the proposal falls within the permitted development rights of the property.

The proposal must be assessed to ensure that it complies with the conditions Class E, Part 1, Schedule 2 of the Town and Country Planning (General Permitted Development) Order 1995 (as amended) (GPDO), which relates to 'The provision within the curtilage of the dwellinghouse' of:

(a) any building or enclosure, swimming or other pool required for a purpose incidental to the enjoyment of the dwellinghouse as such, or the maintenance, improvement or other alteration of such a building or enclosure; or

(b) a container used for domestic heating purposes for the storage of oil or liquid petroleum gas.

Deemed Planning Permission is granted by Class E of the Town and Country Planning (General Permitted Development Order) 1995 (as amended) subject to the following exemptions:

E.1 (a) The total area of ground covered by buildings within the curtilage (other than the original dwellinghouse) would exceed 50% of the total area of the curtilage (excluding the ground area of the original dwellinghouse).

Complies.

E.1 (b) Any part of the building would be situated on land forward of a wall forming the principal elevation of the original dwellinghouse.

Complies.

E.1 (c) The building would have more than one storey.

Complies.

E.1 (d) the height of the building would exceed:

(i) 4 metres in the case of a building with a dual-pitched roof,

(ii) 2.5 metres in the case of a building within 2 metres of the boundary of the curtilage of the dwellinghouse, or

(iii) 3 metres in any other case;

Complies, the roof is mono pitch, with the highest level at 2.5m and the lowest level at 2.3m.

E.1 (e) the height of the eaves of the building would exceed 2.5 metres;

Complies.

E.1 (f) the building would be situated within the curtilage of a listed building;

NOT APPLICABLE

E.1 (g) it would include the construction or provision of a veranda, balcony or raised platform;

NOT APPLICABLE

E.1 (h) it relates to a dwelling or a microwave antenna;

NOT APPLICABLE or

E.1 (i) the capacity of the container would exceed 3,500 litres.

NOT APPLICABLE

E.2 and E.3 are not applicable in this instance.

Interpretation of Class E

E.4 For the purposes of Class E, “purpose incidental to the enjoyment of the dwellinghouse as such” includes the keeping of poultry, bees, pet animals, birds or other livestock for the domestic needs or personal enjoyment of the occupants of the dwellinghouse.

Conclusion

Sufficient evidence has been provided to demonstrate that a Certificate of Lawfulness should be granted for the proposed outbuilding to be used as a gym. The proposal has been assessed against the Town and Country Planning Act 1990 (as amended) and Class E, Part 1 of Schedule 2 of the Town and Country Planning (General Permitted Development) (England) Order 2015. It can be confirmed that the proposed operations would be lawful for planning purposes on the basis of the following drawings and documents received:

Location Plan dated 23/02/2024 received 27/02/2024

Proposed Block Plan received 27/02/2024

Drawing No PD01 Rev A: Proposed Plans and Elevations dated and received 16/05/2024

Therefore the Local Planning Authority will, on this occasion, issue the applicant

with a Certificate of Lawfulness for the proposed development.

Recommendation:

GRANT Certificate

Informatives

Building Regulations

Encroachment

Construction and demolition

Positive and proactive