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	Julie Williams
Reading Council Planning Department
By email

	London
Holmes House
4 Pear Place
London SE1 8BT
nexusplanning.co.uk
	24 July 2024

	


Our Ref:	35486
Your Ref:	212061

Dear Julie,
Discharge of Conditions pursuant to planning permission ref: 212061 at the site of Richfield Driving Range, Richfield Avenue, Reading, Berkshire, RG1 8EQ
On behalf of our client, Bowmer + Kirkland and the Department for Education, please find enclosed an application for the Discharge of Condition 9 of planning permission ref: 212061. 
The full description of development is as follows:
“The demolition of existing driving range structures and the development of a new three-storey 8 form entry school for years 11 - 16, including a SEND unit and 300 place 6th form (total school capacity of 1500 pupils) including the creation of a new access from Richfield Avenue, new parking area, cycle parking landscaped areas, external play areas, Multi Use Games Area (MUGA) and sporting pitches.”
Condition 9 states the following: 
No mechanical plant shall be installed until a noise assessment of the proposed mechanical plant has been submitted and approved by the Local Planning Authority. The assessment shall be carried out for in accordance with BS4142:2014+A1:2019 methodology. The predicted specific sound level (LAeq,TR) (with reference to BS:4142) as measured at a point 1 metre external to the nearest noise-sensitive facade shall be at least 10dB below the pre-existing background sound level, LA90,T when all plant/equipment (or any part of it) is in operation. The predicted rating level, LAr,Tr (specific sound level plus any adjustment for the characteristic features of the sound) as measured at a point 1 metre external to the nearest noise-sensitive façade (habitable window of a dwelling) shall not exceed the pre-existing background sound level, LA90,T  when all plant/equipment (or any part of it) is in operation.  The plant shall thereafter only be installed in accordance with the assessment and shall thereafter be maintained so that it operates to the same standard.

REASON: To safeguard the amenities of the adjoining premises and the area generally, in accordance with Policy CC8 and EN17 of the Reading Borough Local Plan 2019. 



In support of this application, please find enclosed the a Mechanical Plant Noise Mitigation Acoustic Report prepared by Buro Happold, ref. 0049847 Rev P01. The report provides a noise modelling exercise, which concludes that the plant equipment to be installed can meet the criteria as set out in Condition 9. 
The application fee of £145 plus the £70 Planning Portal service charge has been paid via the Planning Portal.  
I trust that the information submitted in support of this application is sufficient for the determination of the application and I look forward to receiving confirmation that the application has been validated in due course. If in the meantime you have any queries, then please do not hesitate to contact me.

Yours sincerely

Nexus Planning



	London 
	
	Birmingham
	
	Bristol
	
	Manchester
	
	Reading
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