Planning Application Ref: 	PL/24/0829
Officer: 			Marcelina Rejwerska
Address: 			Royal Berkshire Hospital , London Rd
Proposal:			CMS

CMS:

The proposed work should be in accordance with the Borough’s Guidance Notes for Activities on the Public Highway. Any licenses required for the development can be obtained from the Councils website using the following link. http://www.reading.gov.uk/maintenanceandroadworks

Space on site where vehicles of site operatives and visitors can be parked with details of how site operatives and visitors will be required to make use of the parking area provided.
Submitted narrative states that visitors and site personnel’s private vehicles will be parked on site at the ground floor of the site to the rear of 173-175 Friar Street.  There are numerous public car parks available within walking distance of the site.   There are extensive parking restriction surrounding the site preventing unauthorised parking.  Allocated parking area has been illustrated on the submitted construction plan. 
SATISFACTORY

Location on site for storage of plant and materials used in constructing the development.
Storage areas have been illustrated on the submitted plans within the curtilage of the site. 
It should be noted that no part of the public highway or footway must be used for storage. 
SATISFACTORY

The erection and maintenance (including removal of any graffiti or fly posters) of security hoarding around the site.
Method statement states that a  2.4m timber hoarding is proposed along the frontage with with access gates.  Heras type fencing  will also be used and shall be regularly checked daily to ensure it remains secure. 

SATISFACTORY
Identification of any footpath closures or road closures needed during construction.
Submitted method statement states that no footpath and road closures are proposed.  If any road closures are required, the requirements of Section 8, of the adopted Guidance Notes for Activities on the Public Highway must be adhered to.  No part of the footpath/public highway outside the site must be used by the contractor. Licenses required for the development can be obtained from the Councils website using the following link. https://www.reading.gov.uk/transport/traffic-roads/maintenance-and-roadworks/
SATISFACTORY

Required wheel washing facilities on site.
A portable high-powered pressure washer is to be used and will be located near the access.  The Highway should be inspected regularly to ensure that no dirt or deris is tracked on to any part of the public highway/footway.
SATISFACTORY 

A scheme for recycling waste resulting from the construction works. 
Not for transport to comment on 

Measures for controlling the use of site lighting whether required for safe working or for security purposes,
Not for Transport to comment on. 

Required measures to control the emission of dust, dirt and other airborne pollutants during demolition and construction.
Not for Transport to comment on. 

Provisions to be made for the control of noise coming from the site during demolition and construction.
Not for Transport to comment on. 

Full details of pest control measures following any demolition required. Where necessary, capping of drains/sewers and baiting arrangements.
Not for Transport to comment on. 


N.Hussain
Transport Development Control Advisor 


