17.02.25

Planning Application Ref: 	PL/25/0056

Officer: 			Marcelina Rejwerska

Application Type: 		Approval of details reserved by a condition

Address: 			7 HAWTHORNE ROAD, CAVERSHAM, READING

Proposal:			Application for Approval of Details Reserved by Conditions 3 –

(Materials), 4 & 5 - (19% improvement in emissions rate), 6 –

(Update for habitat enhancements), 7, 8 - (Tree protection plan),

and 14 (Construction method statement) of application

PL/23/1733

Condition 14 CMS  - V2

The proposed work should be in accordance with the Borough’s Guidance Notes for Activities on the Public Highway. Any licenses required for the development can be obtained from the Councils website using the following link. http://www.reading.gov.uk/maintenanceandroadworks

- Space on site where vehicles of site operatives and visitors can be parked with details of how site operatives and visitors will be required to make use of the parking area provided.

- The narrative states that all site operatives will arrive on site in a shared vehicle or by public transport to minimise vehicles being parked on site. Temporary visitor parking will be provided. Submitted site management plan illustrates on site parking, however the applicant should also be aware that there is no parking on any part of the public highway, including grass verges.  Narrative now confirms restrictions.

SATISFACTORY

- Location on site for storage of plant and materials used in constructing the development.

Submitted CMS site plan confirms materials associated with the development process will be located within the curtilage of the site.   Narrative now confirms that no plant or material must be stored on any part of the public highway or footway including grass verge areas.

SATISFACTORY

- Erection and maintenance (including removal of any graffiti or fly posters) of security hoarding around the site.

The site will be secured utilizing existing fence (where appropriate) and additional security fencing to provide security and protection during construction works.  This has been illustrated on the submitted site plan.

Should fencing encroaches or overhangs the footway a license will be required from the Highways Department.

SATISFACTORY

- Footpath closures or road closures needed during construction.

None stated.  If any road closures are required, the requirements of Section 8, of the adopted Guidance Notes for Activities on the Public Highway must be adhered to.  No part of the footpath/public highway outside the site must be used by the contractor.

SATISFACTORY

- Wheel washing facilities on site.

Illustrated on plans near the site access.  The footway and carriageway should be  regularly inspected to ensure they are kept free from dirt and debris.

SATISFACTORY

- Scheme for recycling waste resulting from the construction works.

Not for Transport to comment.

- Scheme for recycling waste resulting from the construction works.

Not for Transport to comment on.

N. Hussain

Transport Development Control Advisor