14/07/2025

Planning Application Ref: 		PL/25/0896
Officer: 				Marcelina Rejwerska
Application Type: 			Approval of details reserved by a condition
Address:				Land to South Of 104 Berkeley Avenue, RG1 6HY
Proposal:				Application for the discharge of conditions 4: (Brel

Report, Full SAP Calculation, and SAP New Build

Report.), 8 (Habitat Enhancement Scheme.), 9: (Japanese

Knotweed Eradication Strategy.), 13: (Construction

Method Statement.) of PL/24/0415.

CMS:

The proposed work should be in accordance with the Borough’s Guidance Notes for Activities on the Public Highway. Any licenses required for the development can be obtained from the Councils website using the following link. http://www.reading.gov.uk/maintenanceandroadworks

- Space on site where vehicles of site operatives and visitors can be parked with details of how site operatives and visitors will be required to make use of the parking area provided.

- The narrative states on-street parking will not be allowed; All sub-contractors will be encouraged to use public transport whenever possible and will be handed out transport advice leaflets. No site plan has been submitted.

UNSATISFACTORY

- Location on site for storage of plant and materials used in constructing the development.

Submitted narrative states that all loading / unloading is to take place within the curtilage of the site. The narrative should alos confirmsthat no plant or material will be stored on any part of the public highway or footway.    Site plan required.

UNSATISFACTORY

- Erection and maintenance (including removal of any graffiti or fly posters) of security hoarding around the site.

A 2.4m high fence is to be constructed  The hoarding will feature notice boards detailing the contact details of the main contractor as well as telephone numbers for emergencies and complaints. Site plan illustrating gated entrance and location and extent of hoarding required.

UNSATISFACTORY

- Footpath closures or road closures needed during construction.

None stated.  If any road closures are required, the requirements of Section 8, of the adopted Guidance Notes for Activities on the Public Highway must be adhered to.  No part of the footpath/public highway outside the site must be used by the contractor.

SATISFACTORY

- Wheel washing facilities on site.

This will need to be illustrated on plans.  near the site access.  The footway and carriageway should be  regularly inspected to ensure they are kept free from dirt and debris.

UNSATISFACTORY

- Scheme for recycling waste resulting from the construction works.

Not for Transport to comment.

- Scheme for recycling waste resulting from the construction works.

Not for Transport to comment on.

N. Hussain

Transport Development Control Advisor