02/12/2025

Planning Application Ref: 	PL/25/1425
Officer: 			Sian Hickey
Application Type:		Full planning permission
Address: 			500 BASINGSTOKE ROAD, READING, RG2 0QN
Proposal:			Single storey side extension to the Scout Hut to be used for ancillary storage (part retrospective)

This application is for the proposed ground floor side extension of 35.9 sqm to the existing Scout Hut (93sqm) to provide ancillary storage to support the Scout Hut’s activities located at the northeast corner of Whitly Wood Recreation Ground.

In accordance with the Councils current standards the additional space would require parking at a ratio of 1 per 16m2 open hall (2 parking spaces).  Based on a total floor space of 128sqm a total of 9 parking spaces would be required.  The site currently provides more than this.  No parking will be displaced as a result of the proposed side extension and therefore there are no Transport objections to this application.

N. Hussain

Transport Development Control Advisor