Demolition Statement – Garden Shed

This statement supports the proposal to demolish an old existing garden shed located at the above property. The structure in a dilapidated state and is a health and safety risk to stakeholders on the school site. It is beyond economical repair and acts as an impediment to emergency service vehicles needing to access the swimming pool and science areas at the back of the school. We would like to demolish this structure and make it safe for all and ease of access to back of school.

Description of Structure

The shed is a small, single-storey timber structure with a traditional pitched tiled roof, timber posts with infill panel to front, masonry wall to one side.

Method of Demolition
The shed will be dismantled manually by an external contractor, using hand tools to minimise noise, dust, and disruption.

All works will be carried out safely, with appropriate protective equipment and with the work area secured to prevent unauthorised access.

Waste Management
All materials will be separated on site and transported to a licensed recycling or waste facility. Timber, metal fixtures, and roofing materials will be disposed of in accordance with local regulations. No materials will be burned on site.

Public Notice
Where public notice is required, a site notice will be displayed at the main entrance to the school by Reception on East Street.

Timeline
The demolition is expected to commence on 30th March 2026 and be completed by 13th April 2026 within normal daytime working hours.