# Risk assessment – Garden Shed External Building Condition

## Company name: Kendrick School			Assessment carried out by: RBC H&S Officer, IS &IJ

## Date of next review: 24/01/2025	Date assessment was carried out: 19/12/2024

| ### What are the hazards? | ### Who might be harmed and how? | ### What are you already doing to control the risks? | ### What further action do you need to take to control the risks? | ### Who needs to carry out the action? | ### When is the action needed by? | ### Done |
| --- | --- | --- | --- | --- | --- | --- |
| Falling slates and tiles injuring all stakeholders as they are accessing the area | Students, staff and other stakeholders | Haris fencing around the structure with scaffold supports inside and outside. Regular checking and monitoring of area. Staff are aware. Builders visited site to assess and make further safety suggestions. | Short term – use additional safety equipment/fencing/props to make safe areas of roof in poor/dangerous state. Constant monitoring and regular inspection. Restrict vehicle and pedestrian access in the area. Longer term – demolish or rebuild | Premises Team to inspect area daily, report to SLT of any incidences, and take photos. | End Term 3 24/25 | In progress |
| Falling slates, falling to ground and/or landing on cars parking in the car park or moving past structure | Staff and stakeholders cars | Staff have been alerted to sliding slates and poor state of b Haris fencing around the structure with scaffold supports inside and outside building. | Short term – use additional safety equipment/fencing/props to make safe areas of roof in poor/dangerous state. Constant monitoring and regular inspection. Restrict vehicle and pedestrian access in the area Longer term – demolish or rebuild | Premises Team to inspect area daily, report to SLT of any incidences, and take photos. | End Term 3 24/25 | In progress |
| Falling rotten soffits and fascias causing injury or death | Students, staff and other stakeholders | Staff have been alerted to sliding slates and poor state of building. Haris fencing around the structure with scaffold supports inside and outside building. | Short term – roofers invited to inspect roof and provide quote to make safe areas of roof in poor/dangerous state Restrict vehicle and pedestrian access in the area Longer term – planning authority to remove structure. Demolish or rebuild | IS &IJ instruct builders to make safe property. Contact RBC Planners.. Premises Team to inspect area daily, report to SLT any incidences, and take photos | End of Term 3 2024/25 | In progress |
| Guttering falling or loosening caused by the weight of slates and tiles caught by the guttering | Students, staff and other stakeholders | Staff have been alerted to sliding slates and poor state of building. Haris fencing around the structure with scaffold supports inside and outside building. | Short term – roofers invited to inspect roof and provide quote to make safe areas of roof in poor/dangerous state. Restrict vehicle and pedestrian access in the area Longer term – planning authority to remove structure. Demolish or rebuild | Premises Team to inspect area daily, report to SLT any incidences, and take photos | End of Term 3 24/25 | In progress |
| In case of fire and fire evacuation practice, or real fire in the vicinity | Students, staff and other stakeholders | Normal evacuation routes to be used. Students use the path along sied the pool with the supervision of adults. Fire escapes routes monitored. | Premises Team to inspect area daily, report to SLT any incidences, and take photos. | Premises Team | Daily |  |
| Slips and trips over falling debris | Staff and visitors may be injured if they trip over objects and falling debris | Area cordoned off with haris fencing. General good housekeeping procedures take place | Premises Team to inspect area daily, report to SLT any incidences, and take photos. Restrict vehicle and pedestrian access in the area | Premises Team | Daily |  |
| Asbestos -Exposure to asbestos with deterioration of the building fabric internally and externally | Staff, students & visitors | Building surveyed for asbestos and asbestos-containing materials (ACMs) | Premises Team to inspect area report to SLT any incidences, and take photos. Restrict vehicle and pedestrian access in the area | Premises Team | Continuous monitoring |  |
| Poor weather conditions blowing off more slates and tiles from roof causing injury | stakeholders and general public | Area cordoned off with haris fencing. Regular checking and monitoring of area. Staff are aware dangers and alerted to the problems, | Short term – roofers invited to inspect roof and provide quote to make safe areas of roof in poor/dangerous state. Restrict vehicle and pedestrian access in the area Longer term – – planning authority to remove structure. Demolish or rebuild | Premises Team to inspect area daily, report to SLT any incidences, and take photos. | Continuous monitoring | In progress |
| Poor weather conditions blowing off more slates and tiles from roof causing water ingress and further deterioration of roof space | Staff, students & visitors | Area cordoned off with haris fencing. Regular checking and monitoring of area. Staff are aware dangers and alerted to the problems, | Short term – roofers invited to inspect roof and provide quote to make safe areas of roof in poor/dangerous state. Restrict vehicle and pedestrian access in the area Longer term – Demolish or rebuild | Premises Team to inspect area daily, report to SLT any incidences, and take photos. | End of Term 3 24/25 | In progress |
| Reputational damage | SLT-Trust Board | Regular checking and monitoring of area. Staff are aware dangers and alerted to the problems. Roofers on site to assess the damage and scope of making the area site. | Longer term – demolish or repair | SLT | Continuous | In progress |

More information on managing risk: www.hse.gov.uk/simple-health-safety/risk/