# DEMOLITION & SITE SAFETY STATEMENT

Planning Application: PL/90/1194

Site Address: 147 Upper Woodcote Road, Caversham, Reading, RG4 7JR

Local Planning Authority: Reading Borough Council

Principal Contractor: S Dance Builders Ltd, 3 Froghall Drive, Wokingham RG40 2LE

Site Manager: Stuart Dance, Director – S Dance Builders Ltd

Contact Number: 07771 516946         Email: stuart161@sky.com

This statement has been prepared on 27 February 2026 by S Dance Builders Ltd in response to a request from Reading Borough Council for clarification regarding the extent of demolition undertaken at the above site and confirmation of how the site is now being safely managed.

A small section of wall remains on site.  This remaining wall section will be dismantled in a safe, controlled and systematic manner.

Works will:

- Be undertaken progressively to maintain stability.

- Primarily utilise hand tools to minimise vibration and noise.

- Ensure debris is lowered and removed in a controlled sequence.

- Incorporate dust suppression measures through damping down with water where required.

- The site is currently secure and enclosed with perimeter fencing.

- Excavated foundation trenches remain open but are contained within the secured site boundary.

- Demolition debris will be removed by licensed waste carrier.