| Material | Manufacturer | Selection reason and brief |
| --- | --- | --- |
| Primer to deck and upstands if required by system manufacturer | Fixer AVCL Primer | Part of the manufacturers system that we are using to ensure the 20 year guarantee |
| Self adhesive Vapor control layer | Fixer AVCL vapor control layer | As above |
| Flat board insulation, to meet current building regulations requirements of 0.16 W/m²K. Fixed to VCL using PU adhesive. (Typically around 140mm insulation) | IKO enertherm PIR insulation board 150mm as required by BREGS | To meet the required BREGS |
| Underlayer felt (Torch on or self adhesive) | Fixer SIG Sg100816 | 20 year manufactures guarantee |
| Mineral faced B Roof(t4) cap sheet (Torch on or self adhesive) | Fixer SIG SG100G35 | As above |
| Felt system to be applied strictly in accordance with the manufacturers instructions. | 20 years fixer torch on system | 20 year manufactures guarantee |