Planning Application Ref: 	PL/26/0372
Officer: 			Anthony Scholes
Application Type: 		Approval of details reserved by a condition
Address: 			23 CHURCH END LANE, TILEHURST, READING, RG30 4XA
Proposal:			Application for approval of details reserved by conditions 1, 2, 3, 4, 6, 7, 8, 9, 10, 11, 12, 13, 14, 15, 16 and 17 of application PL/25/0273

Condition 12 CMS

The proposed work should be in accordance with the Borough’s Guidance Notes for Activities on the Public Highway. Any licenses required for the development can be obtained from the Councils website using the following link. http://www.reading.gov.uk/maintenanceandroadworks

- Space on site where vehicles of site operatives and visitors can be parked with details of how site operatives and visitors will be required to make use of the parking area provided.

The CMS narrative confirms that a dedicated on-site parking area will be provided within the site boundary for all construction operatives and visitors.   No parking will be permitted on Church End Lane or on the grass verge at any time. Parking area has been illustrated in the supporting CMP.

SATISFACTORY

- Location on site for storage of plant and materials used in constructing the development.

Material storage area has been illustrated within in the curtilage of the site in designated storage area.  No part of the public highway can be used for the storage of any plant or materials.

SATISFACTORY

- Erection and maintenance (including removal of any graffiti or fly posters) of security hoarding around the site.

The site will be enclosed with 2.0m high timber hoarding or Heras security fencing; however this has not been illustrated on plans.  All gates must open into the site.  Revised plans required illustrating gates and openings .  If any part of the public footway will be used to facilitate hoarding a license will also be required.

UNSATISFACTORY

- Footpath closures or road closures needed during construction.

None stated.  If any road closures are required, the requirements of Section 8, of the adopted Guidance Notes for Activities on the Public Highway must be adhered to.  No part of the footpath/public highway outside the site must be used by the contractor.

SATISFACTORY

- Wheel washing facilities on site.

The Narrative confirms a wheel-washing station will be installed at the site entrance/exit point.   The applicant has confirmed that any must/dirt/debris deposited on the highway will be removed immediately.

SATISFACTORY

- Scheme for recycling waste resulting from the construction works.

Not for Transport to comment.

- Scheme for recycling waste resulting from the construction works.

Not for Transport to comment on.

Condition 17 EV

An electric charging pont has been provided, however the installation of the charging point will need to conform with the latest building regulations. This would not be for Transport to comment on.

N. Hussain

Transport Development Control Advisor