16/06/2026

Planning Application Ref: 	PL/26/0687
Officer: 			Anthony Scholes
Application Type: 		Approval of details reserved by a condition
Address:			 59, London Street, Reading RG1 4PS
Proposal:			Application for Approval of Details Reserved by Conditions 4, 5, 6 and 7 of application PL/22/1623

Condition 6 – CMS

The proposed work should be in accordance with the Borough’s Guidance Notes for Activities on the Public Highway. Any licenses required for the development can be obtained from the Councils website using the following link. http://www.reading.gov.uk/maintenanceandroadworks

- Space on site where vehicles of site operatives and visitors can be parked with details of how site operatives and visitors will be required to make use of the parking area provided.

No onsite parking is provided.  It is proposed  construction staff will utilise public car parks in the vicinity of the Site.   Construction staff will utilise the on site loading / unloading area within the curtilag of the site to unload tools at the before parking in the surrounding area. There  are extensive on street parking restrictions in the form of double yellow lines and permit holder only bays which restrict unauthorized parking.

SATISFACTORY

- Location on site for storage of plant and materials used in constructing the development.

Material storage area has been illustrated within in the curtilage of the site in designated storage area.  No part of the public highway can be used for the storage of any plant or materials.

SATISFACTORY

- Erection and maintenance (including removal of any graffiti or fly posters) of security hoarding around the site.

Narrative ststes use of hoarding around the site in accordance with the Council Policy.

SATISFACTORY

- Footpath closures or road closures needed during construction.

None stated.  If any road closures are required, the requirements of Section 8, of the adopted Guidance Notes for Activities on the Public Highway must be adhered to.  No part of the footpath/public highway outside the site must be used by the contractor.

SATISFACTORY

- Wheel washing facilities on site.

The Narrative confirms a wheel-washing station will be installed within the site  .   The applicant must ensure that dirt/debris deposited on the highway will be removed immediately.

SATISFACTORY

- Scheme for recycling waste resulting from the construction works.

Not for Transport to comment.

- Scheme for recycling waste resulting from the construction works.

Not for Transport to comment on.

N. Hussain

Transport Development Control Advisor