# Proposed Rooflight Schedule

Site: 92 Audley Street, Reading RG30 1BS

Proposal: Installation of three conservation-style flush rooflights within the existing roof slopes.

| Reference | Product | Size | Qty |
| --- | --- | --- | --- |
| RL1 | VELUX GGL CK02 2570H Conservation Centre-Pivot Roof Window | 550 x 780 mm | 1 |
| RL2 | VELUX GGL CK02 2570H Conservation Centre-Pivot Roof Window | 550 x 780 mm | 1 |
| RL3 | VELUX GGL MK08 2570H Conservation Centre-Pivot Roof Window | 780 x 1400 mm | 1 |

## General Specification

- All rooflights to be conservation-style centre-pivot roof windows.

- Rooflights to be installed flush within the existing roof plane in accordance with the manufacturer’s installation instructions.

- Existing roof profile, pitch and ridge height to remain unchanged.

- No dormers, raised roof structures or alterations to the roof form are proposed.

- External finish to match the manufacturer’s conservation specification (or approved equivalent).

- Manufacturer’s product literature accompanies this application.