## Sheet1
Reading University - Greenlands Campus
Building | Description | Cost
Windrush | Supply and lay Knauf Loft Roll insulation, crosslaid where at all possible. Insulation is to meet current Building Regulations U-value of 0.15 and to achieve an overall depth of at least 300mm. Total Loft Area: 433m2 | 6928
| Insulate existing loft hatches | 300
| InstaGroup to supply and fit Lap Vents every 1.5m | 100
| InstaGroup is to identify any downlighters that penetrate the plasterboard ceilings below the work area and provide a cost for the supply and fit of hoods. Allow for 10no | 50
| Prior to installation, InstaGroup to raise existing boarding to allow for installation of insulation (Allow for 55m2) | 2750
Evenlode | Supply and lay Knauff loft roll insulation, crosslaid where at all possible. Insulation is to meet current Building Regulations U-value of 0.15 and to achieve an overall depth of at least 300mm. Total Loft Area: 99m2 | 1584
| Insulate existing loft hatches | 75
| InstaGroup to supply and fit Lap Vents every 1.5m | 25
| InstaGroup is to identify any downlighters that penetrate the plasterboard ceilings below the work area and provide a cost for the supply and fit of hoods. Allow for 5no | 25
| Prior to installation, InstaGroup to raise existing boarding to allow for installation for insulation (Allow for 10m2) | 550
Loddon | Supply and lay Knauff Loft insulation, crosslaid where at all possible. Insulation is to meet current Building Regulations U-value of 0.15 and to achieve an overall depth of at least 300mm. Total Loft Area: 100m2 | 1600
| Insulate existing loft hatches | 75
| InstaGroup to supply and fit Lap Vents every 1.5m | 25
| InstaGroup is to identify any downlighters that penetrate the plasterboard ceilings below the work area and provide a cost for the supply and fit of hoods. Allow for 5no | 25
| Prior to installation, InstaGroup to raise existing boarding to allow for installation of insulation (Allow for 15m2) | 825
Main House | Supply and lay Knauf Loft insulation, crosslaid where at all possible. Insulation is to meet current Building Regulations U-value of 0.15 and to achieve an overall depth of at least 300mm. Total Loft Area: 116m2. Due to the sporadic nature of 200mm and 300mm top ups required, we have increased the m2 rate to £16.50m2 to achieve a hollistic average across the loft space. | 1633.5
| Total = | 16570.5